## Sheet1
Uploaded | deposit_name | deposit_local_id | deposit_environment | deposit_group | deposit_type | primary_commodities | secondary_commodities | all_commodities | deposit_source | sample_uid | sample_name | sample_local_id | feature_type | feature_name | feature_uid | top_depth_m | bottom_depth_m | sample_deposit_relation | sample_type | sampling_method | material_class | material_class_comments | province | strat_unit_name | strat_unit_uid | strat_grouping | earth_material_group | earth_material_qualifier | earth_material | metamorphic_grade | mineral | paragenetic_stage | mode_of_occurrence | texture | color | alteration | sample_description | associated_minerals | sample_preparation | analytical_method | instrument_type_model | laboratory_location/if reported | operating_conditions/if reported | standards_used/if reported | ag_ppm | ag_detection_limit | al_ppm | al_detection_limit | as_ppm | as_detection_limit | au_ppm | au_detection_limit | b_ppm | b_detection_limit | ba_ppm | ba_detection_limit | be_ppm | be_detection_limit | bi_ppm | bi_detection_limit | br_ppm | br_detection_limit | ca_ppm | ca_detection_limit | cd_ppm | cd_detection_limit | ce_ppm | ce_detection_limit | cl_ppm | cl_detection_limit | co_ppm | co_detection_limit | cr_ppm | cr_detection_limit | cs_ppm | cs_detection_limit | cu_ppm | cu_detection_limit | dy_ppm | dy_detection_limit | er_ppm | er_detection_limit | eu_ppm | eu_detection_limit | f_ppm | f_detection_limit | fe_ppm | fe_detection_limit | ga_ppm | ga_detection_limit | gd_ppm | gd_detection_limit | ge_ppm | ge_detection_limit | hf_ppm | hf_detection_limit | hg_ppm | hg_detection_limit | ho_ppm | ho_detection_limit | in_ppm | in_detection_limit | ir_ppm | ir_detection_limit | k_ppm | k_detection_limit | la_ppm | la_detection_limit | li_ppm | li_detection_limit | lu_ppm | lu_detection_limit | mg_ppm | mg_detection_limit | mn_ppm | mn_detection_limit | mo_ppm | mo_detection_limit | na_ppm | na_detection_limit | nb_ppm | nb_detection_limit | nd_ppm | nd_detection_limit | ni_ppm | ni_detection_limit | os_ppm | os_detection_limit | p_ppm | p_detection_limit | pb_ppm | pb_detection_limit | pd_ppm | pd_detection_limit | pr_ppm | pr_detection_limit | pt_ppm | pt_detection_limit | rb_ppm | rb_detection_limit | re_ppm | re_detection_limit | rh_ppm | rh_detection_limit | ru_ppm | ru_detection_limit | s_ppm | s_detection_limit | sb_ppm | sb_detection_limit | sc_ppm | sc_detection_limit | se_ppm | se_detection_limit | si_ppm | si_detection_limit | sm_ppm | sm_detection_limit | sn_ppm | sn_detection_limit | sr_ppm | sr_detection_limit | ta_ppm | ta_detection_limit | tb_ppm | tb_detection_limit | te_ppm | te_detection_limit | th_ppm | th_detection_limit | ti_ppm | ti_detection_limit | tl_ppm | tl_detection_limit | tm_ppm | tm_detection_limit | u_ppm | u_detection_limit | v_ppm | v_detection_limit | w_ppm | w_detection_limit | y_ppm | y_detection_limit | yb_ppm | yb_detection_limit | zn_ppm | zn_detection_limit | zr_ppm | zr_detection_limit | analysis_datetime | publication_date | sample_source | submitter | country | state | deposit_longitude_wgs84 | deposit_latitude_wgs84 | sample_longitude_wgs84 | sample_latitude_wgs84 | sample_easting | sample_northing | sample_utm_zone | sample_location_description | location_source | location_accuracy | comments | last_update
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | A348395 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.005018 |  |  |  | 0.2086 | [9 empty] | 0.094568 | [11 empty] | 0.024716 | [5 empty] | 0.032289 | [9 empty] | 45.7089 | [43 empty] | 0.029659 | [15 empty] | 54.0014 |  | 0.007835 |  |  |  | 0.077252 | [33 empty] | 0.026693 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | B232695 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.004 |  |  |  | 0.048009 | [9 empty] | 0.13295 | [11 empty] | 0.048009 | [5 empty] | 0.019595 | [9 empty] | 46.1529 | [43 empty] | 0.012737 | [15 empty] | 53.6825 |  | 0.007026 |  |  |  | 0.3209 | [33 empty] | 0.036251 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | B233308 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.10169 |  |  |  | 0.029401 | [9 empty] | 0.1329 | [11 empty] | 0.023544 | [5 empty] | 0.086899 | [9 empty] | 46.1378 | [43 empty] | 0.046107 | [15 empty] | 53.7553 |  | 0.33339 |  |  |  | 0.040274 | [33 empty] | 0.032373 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | B265159A |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.012 |  |  |  | 0.081214 | [9 empty] | 0.14798 | [11 empty] | 0.057731 | [5 empty] | 0.060666 | [9 empty] | 46.2059 | [43 empty] | 0.01561 | [15 empty] | 53.5465 |  | 0.017689 |  |  |  | 0.55241 | [33 empty] | 0.042075 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | B266543 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.007088 |  |  |  | 0.040067 |  | 0.16024 | [7 empty] | 0.12252 | [5 empty] | 180.5823 | [5 empty] | 0.032249 | [5 empty] | 0.029317 | [9 empty] | 46.202 |  | 3.7136 |  |  |  | 1.1917 | [7 empty] | 1.6442 | [13 empty] | 8.6042 | [9 empty] | 4.2284 | [5 empty] | 0.053335 | [15 empty] | 53.6739 |  | 0.074764 |  |  |  | 0.27548 | [5 empty] | 0.21876 | [13 empty] | 0.87614 | [13 empty] | 0.022477 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | B266575 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.021196 |  |  |  | 0.09688 | [9 empty] | 0.012112 | [11 empty] | 0.092966 | [5 empty] | 0.028379 | [9 empty] | 45.5396 | [43 empty] | 0.022508 | [15 empty] | 53.7421 |  | 0.12023 |  |  |  | 4.4766 | [33 empty] | 0.47755 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | B266585 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.18626 |  |  |  | 0.017669 | [9 empty] | 0.12686 | [11 empty] | 0.020614 | [5 empty] | 0.078683 | [9 empty] | 45.9062 | [43 empty] | 0.006871 | [15 empty] | 53.5804 |  | 0.012803 |  |  |  | 0.053362 | [33 empty] | 0.4594 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | B291152 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.029017 |  |  |  | 0.76559 |  | 1.4422 | [7 empty] | 0.12907 | [5 empty] | 0.49454 | [5 empty] | 0.023436 | [5 empty] | 0.010742 | [9 empty] | 46.0886 |  | 0.37136 |  |  |  | 0.95765 | [7 empty] | 0.54975 | [13 empty] | 2451.4698 | [9 empty] | 47.0861 | [5 empty] | 0.050779 | [15 empty] | 53.0257 |  | 0.014706 |  |  |  | 0.21222 | [5 empty] | 1.6936 | [13 empty] | 14.6023 | [13 empty] | 0.035155 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | B291157 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.005 |  |  |  | 0.048156 |  | 0.74535 | [7 empty] | 0.009077 | [5 empty] | 56.63 | [5 empty] | 0.076656 | [5 empty] | 0.006836 | [9 empty] | 46.1873 |  | 0.96123 |  |  |  | 0.96113 | [7 empty] | 3.8524 | [13 empty] | 14.8326 | [9 empty] | 27.7928 | [5 empty] | 0.009828 | [15 empty] | 53.678 |  | 0.008868 |  |  |  | 0.59821 | [5 empty] | 40.9947 | [13 empty] | 25.3823 | [13 empty] | 0.031337 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Q721151 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.009 |  |  |  | 0.006905 | [9 empty] | 0.68152 | [11 empty] | 0.16198 | [5 empty] | 0.014998 | [9 empty] | 46.2229 | [43 empty] | 0.23797 | [15 empty] | 53.3591 |  | 0.00886 | [37 empty] | 0.014806 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Q721165 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.064256 |  |  |  | 0.008831 |  | 0.11045 | [7 empty] | 0.01506 | [5 empty] | 4.1355 | [5 empty] | 0.061299 | [5 empty] | 0.005932 | [9 empty] | 46.1287 |  | 124.4331 |  |  |  | 0.69201 | [7 empty] | 1.3358 | [13 empty] | 1.1995 | [9 empty] | 25.8892 | [5 empty] | 0.23136 | [15 empty] | 53.1179 |  | 0.38856 |  |  |  | 2.6718 | [5 empty] | 0.1137 | [13 empty] | 0.076961 | [13 empty] | 0.030417 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Q930238 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.004 |  |  |  | 0.38025 |  | 0.26332 | [7 empty] | 0.016041 | [5 empty] | 34.4849 | [5 empty] | 0.074304 | [5 empty] | 0.022786 | [9 empty] | 45.8633 |  | 0.25677 |  |  |  | 1.8309 | [7 empty] | 0.32 | [13 empty] | 0.99192 | [9 empty] | 20.5591 | [5 empty] | 0.1605 | [15 empty] | 53.7642 |  | 0.045573 |  |  |  | 4.0762 | [5 empty] | 3.7836 | [13 empty] | 1.9647 | [13 empty] | 0.023777 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Q930239 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.008088 |  |  |  | 0.019609 | [9 empty] | 0.006066 | [11 empty] | 0.035296 | [5 empty] | 0.009804 | [9 empty] | 45.8262 | [43 empty] | 8.0579 | [15 empty] | 53.9944 |  | 0.048571 |  |  |  | 2.357 | [33 empty] | 0.10491 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Q930271 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.003 |  |  |  | 0.038852 | [9 empty] | 0.15885 | [11 empty] | 0.068704 | [5 empty] | 0.024537 | [9 empty] | 46.1923 | [43 empty] | 0.048092 | [15 empty] | 53.6379 |  | 0.022574 |  |  |  | 6.3803 | [33 empty] | 0.56432 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | B264518 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.043989 |  |  |  | 0.012 |  | 0.12288 | [7 empty] | 0.016047 | [5 empty] | 5.0026 | [5 empty] | 0.074111 | [5 empty] | 0.008932 | [9 empty] | 59.7154 |  | 13.1675 |  |  |  | 1.1534 | [7 empty] | 0.55997 | [13 empty] | 1.1534 | [9 empty] | 58.2508 | [5 empty] | 0.12747 | [15 empty] | 39.7609 |  | 0.009 |  |  |  | 8.2088 | [5 empty] | 0.17686 | [7 empty] | 0.51582 | [5 empty] | 0.0111 | [13 empty] | 0.32213 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | tennantite |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 2.0076 |  |  |  | 13.3696 | [21 empty] | 0.00702 | [5 empty] | 40.21 | [9 empty] | 5.0773 | [9 empty] | 0.03 | [27 empty] | 0.041233 | [5 empty] | 0.14039 | [15 empty] | 27.0681 |  | 9.0956 |  |  |  | 0.01307 | [33 empty] | 3.0245 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | tetrahedrite |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 3.7993 |  |  |  | 3.95 | [21 empty] | 0.011047 | [5 empty] | 36.9007 | [9 empty] | 2.6162 | [9 empty] | 0.054 | [27 empty] | 0.023059 | [5 empty] | 0.08135 | [15 empty] | 25.5217 |  | 22.2145 |  |  |  | 0.061263 | [33 empty] | 4.8529 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | freibergite |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 23.6407 |  |  |  | 0.054542 | [21 empty] | 0.00595 | [5 empty] | 18.7348 | [9 empty] | 5.7101 | [37 empty] | 0.0119 | [5 empty] | 4.0133 | [15 empty] | 21.9141 |  | 25.3939 |  |  |  | 0.062476 | [33 empty] | 0.45816 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | bournonite |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 12.802 | [13 empty] | 0.25317 | [17 empty] | 7.9083 | [9 empty] | 3.4763 | [43 empty] | 38.4385 | [15 empty] | 16.4847 |  | 19.8481 |  |  |  | 0.19522 | [33 empty] | 0.59379 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | discrasite |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 72.2767 |  |  |  | 0.071364 | [21 empty] | 0.021522 | [5 empty] | 0.072765 | [9 empty] | 0.029721 | [37 empty] | 0.038944 | [5 empty] | 0.058417 | [17 empty] | 19.2037 |  |  |  | 0.010249 | [33 empty] | 0.10399 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | gudmubdlite |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.022094 |  |  |  | 0.41778 | [21 empty] | 0.04218 | [5 empty] | 0.002009 | [9 empty] | 27.1529 | [37 empty] | 0.18178 | [5 empty] | 0.07733 | [15 empty] | 14.9659 |  | 57.1239 |  |  |  | 0.01406 | [33 empty] | 0 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | menenghinite |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 15.3368 |  |  |  | 0.080175 | [21 empty] | 0.010255 | [5 empty] | 6.924 | [9 empty] | 7.3146 | [37 empty] | 0.031751 | [5 empty] | 35.8262 | [15 empty] | 19.0444 |  | 13.2187 |  |  |  | 0.074582 | [33 empty] | 2.1703 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | ullmannite |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 4.5694 |  |  |  | 0.44612 | [21 empty] | 0.66153 | [5 empty] | 3.0827 | [9 empty] | 6.9226 | [37 empty] | 12.906 | [5 empty] | 0.10339 | [15 empty] | 8.9282 |  | 62.244 | [37 empty] | 0.13594 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | gudmundlite |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | [14 empty] | 0.85383 | [17 empty] | 0.013619 | [9 empty] | 27.2388 | [43 empty] | 1.7663 | [15 empty] | 15.4811 |  | 54.3561 |  |  |  | 0.28601 | [38 empty] | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | boulangerite |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 2.0565 |  |  |  | 0.005018 | [9 empty] | 0.16502 | [17 empty] | 1.3098 | [9 empty] | 0.97053 | [43 empty] | 61.256 | [15 empty] | 17.9614 |  | 18.414 |  |  |  | 0.083303 | [38 empty] | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Bi-rich galena |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | 0.36191 | [13 empty] | 9.5141 | [27 empty] | 2.6266 | [43 empty] | 72.2677 | [15 empty] | 9.3854 | [5 empty] | 5.7673 | [38 empty] | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | native Bi |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | [14 empty] | 97.8441 | [17 empty] | 0.19532 | [9 empty] | 0.44035 | [43 empty] | 0.20285 | [15 empty] | 0.1794 |  | 1.2324 | [37 empty] | 2.1673 |  |  |  |  | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Bi, Se, Co, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | bismuthinite |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite, chalcopyrite, pyrrhotite, magnetite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates | Polished thin sections; transmitted and reflected light petrography | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | EMPA: accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s. Analyses with totals falling outside 100 ± 2 wt. % range were rejected; for galena, pyrite, and sulfosalts, analyses with totals falling outside 100 ± 3 wt. % range were rejected. | Internal standards were measured periodically to demonstrate their reproducibility. | [14 empty] | 78.3595 | [17 empty] | 0.28248 | [9 empty] | 2.1108 | [43 empty] | 0.7623 | [15 empty] | 17.2795 | [44 empty] | 2024 | Denisová and Piercey (2024), Mineralium Deposita, 59, 473–503 |  | CAN | Yukon