## Summary
T1_metadata_% | T2_numerical_% | T3_structural_% | T4_null_% | overall_%
89.92 | 100 | 100 | 99.7 | 96.93

## Metadata
field | predicted | ground_truth | score_% | note
deposit_name | Banbianjie | Banbianjie | 100 | Exact match
deposit_environment | Basin hydrothermal | Basin hydrothermal | 100 | Exact match
deposit_group | Mississippi Valley-type (MVT) | Mississippi Valley-type (MVT) | 100 | Exact match
deposit_type | MVT zinc-lead | MVT zinc-lead | 100 | Exact match
all_commodities | Zn, Ge, Pb | Zn, Ge | 76.9 | Mismatch (sim=0.77)
mineral | sphalerite | sphalerite | 100 | Exact match
analytical_method | LA-ICPMS, TEM | LA-ICPMS | 80 | Mismatch (sim=0.80)
instrument_type_model | i CAP RQ ICP-MS instrument equipped with a NWR ablation system (λ = 193 nm) | iCAP RQ ICP-MS instrument equipped with a NWR ablation system (λ = 193 nm) | 99.3 | Fuzzy match (0.99)
laboratory_location/if reported | Guangzhou Tuoyan Analytical Technology Co., Ltd., Guangzhou, China | Guangzhou Tuoyan Analytical Technology Co., Ltd., Guangzhou, China | 100 | Exact match
operating_conditions/if reported | a frequency of 8 Hz and a laser spot size of 30 μm; background measurement 50 s, sample ablation 40 s. For LA-ICP-MS mapping: fluence of 1.5 J/cm2, repetition rate of 40 Hz, washout time of 20 s; spot sizes of 15 μm (Sp1b) and 20 μm (Sp2) | frequency of 8 Hz and a laser spot size of 30 µm; Each analysis consisted of 50 s of background measurement and 40 s of sample ablation (signal measurement). The time-integrated LA-ICP-MS signals were processed using Iolite v3.25 (Paton et al., 2011); 34S, 55Mn, 57Fe, 59Co, 60Ni, 65Cu, 66Zn, 71Ga, 74Ge, 75As, 77Se, 107Ag, 111Cd, 115In, 118Sn, and 208Pb. | 32.3 | Mismatch (sim=0.32)
standards_used/if reported | NIST610, GSE-2G, and MASS-1 (external standards); 66Zn (Zn = 650,000 ppm) as internal standard | NIST610, GSE-2G, and MASS-1; 66Zn (Zn = 650,000 ppm) was used as the internal standard | 80.5 | Mismatch (sim=0.80)
country | CHN | CHN | 100 | Exact match
publication_date | 2024 | 2024 | 100 | Exact match

## Elements
element_field | n_evaluated | mean_score_%
ag_ppm | 54 | 100
as_ppm | 54 | 100
cd_ppm | 67 | 100
cu_ppm | 54 | 100
fe_ppm | 67 | 100
ga_ppm | 67 | 100
ge_ppm | 67 | 100
hg_ppm | 54 | 100
in_ppm | 54 | 100
mn_ppm | 67 | 100
pb_ppm | 67 | 100
sb_ppm | 42 | 100
sn_ppm | 67 | 100
tl_ppm | 54 | 100

## Samples
sample_name | numerical_score_% | null_score_%
BBJ-1-spot1 | 100 | 100
BBJ-1-spot10 | 100 | 98.33
BBJ-1-spot11 | 100 | 98.33
BBJ-1-spot12 | 100 | 98.33
BBJ-1-spot13 | 100 | 98.33
BBJ-1-spot14 | 100 | 100
BBJ-1-spot2 | 100 | 100
BBJ-1-spot3 | 100 | 100
BBJ-1-spot4 | 100 | 100
BBJ-1-spot5 | 100 | 100
BBJ-1-spot6 | 100 | 100
BBJ-1-spot7 | 100 | 100
BBJ-1-spot8 | 100 | 100
BBJ-1-spot9 | 100 | 98.33
BBJ-5-spot1 | 100 | 100
BBJ-5-spot10 | 100 | 100
BBJ-5-spot11 | 100 | 100
BBJ-5-spot12 | 100 | 100
BBJ-5-spot13 | 100 | 98.33
BBJ-5-spot14 | 100 | 100
BBJ-5-spot15 | 100 | 100
BBJ-5-spot16 | 100 | 98.33
BBJ-5-spot17 | 100 | 98.33
BBJ-5-spot2 | 100 | 100
BBJ-5-spot3 | 100 | 100
BBJ-5-spot4 | 100 | 100
BBJ-5-spot5 | 100 | 100
BBJ-5-spot6 | 100 | 100
BBJ-5-spot7 | 100 | 100
BBJ-5-spot8 | 100 | 100
BBJ-5-spot9 | 100 | 100
ZK1008*-spot1 | 100 | 100
ZK1008*-spot10 | 100 | 100
ZK1008*-spot11 | 100 | 100
ZK1008*-spot12 | 100 | 100
ZK1008*-spot13 | 100 | 100
ZK1008*-spot2 | 100 | 100
ZK1008*-spot3 | 100 | 100
ZK1008*-spot4 | 100 | 100
ZK1008*-spot5 | 100 | 100
ZK1008*-spot6 | 100 | 100
ZK1008*-spot7 | 100 | 100
ZK1008*-spot8 | 100 | 100
ZK1008*-spot9 | 100 | 100
ZK1008-spot1 | 100 | 100
ZK1008-spot10 | 100 | 100
ZK1008-spot11 | 100 | 100
ZK1008-spot12 | 100 | 100
ZK1008-spot13 | 100 | 98.33
ZK1008-spot14 | 100 | 98.33
ZK1008-spot15 | 100 | 100
ZK1008-spot16 | 100 | 100
ZK1008-spot17 | 100 | 100
ZK1008-spot18 | 100 | 100
ZK1008-spot19 | 100 | 100
ZK1008-spot2 | 100 | 100
ZK1008-spot20 | 100 | 100
ZK1008-spot21 | 100 | 98.33
ZK1008-spot22 | 100 | 100
ZK1008-spot23 | 100 | 98.33
ZK1008-spot3 | 100 | 100
ZK1008-spot4 | 100 | 100
ZK1008-spot5 | 100 | 100
ZK1008-spot6 | 100 | 100
ZK1008-spot7 | 100 | 100
ZK1008-spot8 | 100 | 100
ZK1008-spot9 | 100 | 100