## Summary
T1_metadata_% | T2_numerical_% | T3_structural_% | T4_null_% | overall_%
71.57 | 65.45 | 8.99 | 98.21 | 63.73

## Metadata
field | predicted | ground_truth | score_% | note
deposit_name | Bingham Canyon | Bingham Canyon | 100 | Exact match
deposit_environment | Magmatic hydrothermal | Magmatic hydrothermal | 100 | Exact match
deposit_group | Porphyry | Porphyry | 100 | Exact match
deposit_type | Cu-Au-Mo porphyry | Porphyry copper-molybdenum | 37.2 | Mismatch (sim=0.37)
all_commodities | Cu, Au, Mo, Pb, Zn, Ag | Cu, Au, Mo, Ag | 78.6 | Mismatch (sim=0.79)
mineral | Pyrite | sphalerite | 62.5 | Mismatch (sim=0.62)
analytical_method | LA-ICPMS, EMPA | LA-ICP-MS and EMPA | 83.9 | Mismatch (sim=0.84)
instrument_type_model | Excite 193-nm excimer laser ablation system coupled to an Agilent quadrupole ICP-MS (7500 ce series) | Teledyne Analyte Excite 193-nm excimer laser and Agilent quadrupole ICP-MS (7500 ce series); Cameca SX50 electron microprobe | 65.8 | Mismatch (sim=0.66)
laboratory_location/if reported | University of Utah | University of Utah (LA-ICP-MS) and Brigham Young University (EMPA) | 45 | Mismatch (sim=0.45)
operating_conditions/if reported | Spot size 40 to 50 µm; frequency 5 to 7 Hz; fluency 5 to 7 J cm–2; total analysis time 90 s for pyrite (20 s background, 70 s ablation) with 30-s washout; for chalcopyrite, sphalerite, tennantite, and galena 70 s (30 s background, 40 s ablation) with 30-s washout; dwell times: 0.05 s for Au, 0.005 to 0.02 s for major elements, 0.02 s for all other elements; each spot preablated with two shots | 40 to 50 µm spot, 5 to 7 Hz, 5 to 7 J cm-2 (LA-ICP-MS); 20 kV, 10-40 nA (EMPA) | 24.6 | Mismatch (sim=0.25)
standards_used/if reported | NIST610 glass for tuning; MASS-1 (pressed sulfide powder) as external standard, analyzed three times before and after each set of 10 analyses | MASS-1 (LA-ICP-MS); natural standards FeS2 (Fe, S), CuFeS2 (Cu, Fe, S), GaAs (As), ZnS (Zn), and PbS (Pb) for EMPA | 32.9 | Mismatch (sim=0.33)
country | USA | USA | 100 | Exact match
publication_date | 2021 | 2021 | 100 | Exact match

## Elements
element_field | n_evaluated | mean_score_%
ag_ppm | 8 | 100
as_ppm | 8 | 25
au_ppm | 8 | 50
cd_ppm | 8 | 0.09
cr_ppm | 8 | 0
cu_ppm | 8 | 0
fe_ppm | 8 | 100
ga_ppm | 8 | 100
hg_ppm | 8 | 100
in_ppm | 8 | 100
mn_ppm | 8 | 100
pb_ppm | 8 | 100
s_ppm | 8 | 100
sb_ppm | 8 | 87.5
se_ppm | 8 | 50
sn_ppm | 8 | 100
zn_ppm | 8 | 0

## Samples
sample_name | numerical_score_% | null_score_%
FF3-SPH1A | 58.83 | 98.21
FF3-SPH1B | 64.71 | 98.21
FF3-SPH2A | 70.59 | 98.21
FF3-SPH2B | 64.71 | 98.21
FF3-SPH3A | 70.6 | 98.21
FF3-SPH3B | 58.83 | 98.21
FF3-SPH4A | 70.59 | 98.21
FF3-SPH4B | 64.71 | 98.21