## Sheet1
Uploaded | deposit_name | deposit_local_id | deposit_environment | deposit_group | deposit_type | primary_commodities | secondary_commodities | all_commodities | deposit_source | sample_uid | sample_name | sample_local_id | feature_type | feature_name | feature_uid | top_depth_m | bottom_depth_m | sample_deposit_relation | sample_type | sampling_method | material_class | material_class_comments | province | strat_unit_name | strat_unit_uid | strat_grouping | earth_material_group | earth_material_qualifier | earth_material | metamorphic_grade | mineral | paragenetic_stage | mode_of_occurrence | texture | color | alteration | sample_description | associated_minerals | sample_preparation | analytical_method | instrument_type_model | laboratory_location/if reported | operating_conditions/if reported | standards_used/if reported | ag_ppm | ag_detection_limit | al_ppm | al_detection_limit | as_ppm | as_detection_limit | au_ppm | au_detection_limit | b_ppm | b_detection_limit | ba_ppm | ba_detection_limit | be_ppm | be_detection_limit | bi_ppm | bi_detection_limit | br_ppm | br_detection_limit | ca_ppm | ca_detection_limit | cd_ppm | cd_detection_limit | ce_ppm | ce_detection_limit | cl_ppm | cl_detection_limit | co_ppm | co_detection_limit | cr_ppm | cr_detection_limit | cs_ppm | cs_detection_limit | cu_ppm | cu_detection_limit | dy_ppm | dy_detection_limit | er_ppm | er_detection_limit | eu_ppm | eu_detection_limit | f_ppm | f_detection_limit | fe_ppm | fe_detection_limit | ga_ppm | ga_detection_limit | gd_ppm | gd_detection_limit | ge_ppm | ge_detection_limit | hf_ppm | hf_detection_limit | hg_ppm | hg_detection_limit | ho_ppm | ho_detection_limit | in_ppm | in_detection_limit | ir_ppm | ir_detection_limit | k_ppm | k_detection_limit | la_ppm | la_detection_limit | li_ppm | li_detection_limit | lu_ppm | lu_detection_limit | mg_ppm | mg_detection_limit | mn_ppm | mn_detection_limit | mo_ppm | mo_detection_limit | na_ppm | na_detection_limit | nb_ppm | nb_detection_limit | nd_ppm | nd_detection_limit | ni_ppm | ni_detection_limit | os_ppm | os_detection_limit | p_ppm | p_detection_limit | pb_ppm | pb_detection_limit | pd_ppm | pd_detection_limit | pr_ppm | pr_detection_limit | pt_ppm | pt_detection_limit | rb_ppm | rb_detection_limit | re_ppm | re_detection_limit | rh_ppm | rh_detection_limit | ru_ppm | ru_detection_limit | s_ppm | s_detection_limit | sb_ppm | sb_detection_limit | sc_ppm | sc_detection_limit | se_ppm | se_detection_limit | si_ppm | si_detection_limit | sm_ppm | sm_detection_limit | sn_ppm | sn_detection_limit | sr_ppm | sr_detection_limit | ta_ppm | ta_detection_limit | tb_ppm | tb_detection_limit | te_ppm | te_detection_limit | th_ppm | th_detection_limit | ti_ppm | ti_detection_limit | tl_ppm | tl_detection_limit | tm_ppm | tm_detection_limit | u_ppm | u_detection_limit | v_ppm | v_detection_limit | w_ppm | w_detection_limit | y_ppm | y_detection_limit | yb_ppm | yb_detection_limit | zn_ppm | zn_detection_limit | zr_ppm | zr_detection_limit | analysis_datetime | publication_date | sample_source | submitter | country | state | deposit_longitude_wgs84 | deposit_latitude_wgs84 | sample_longitude_wgs84 | sample_latitude_wgs84 | sample_easting | sample_northing | sample_utm_zone | sample_location_description | location_source | location_accuracy | comments | last_update
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py1(n=20) |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). | [148 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | S.D. |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). |  | 13.7777 |  |  |  | 8190.7867 |  | 2.0682 |  |  |  | 34.798 |  |  |  | 13.6314 | [5 empty] | 8.6318 | [5 empty] | 1345.5175 |  | 5.1047 |  |  |  | 825.3429 | [9 empty] | 5536.2997 |  | 79.4408 |  |  |  | 28.8514 | [7 empty] | 3.5967 | [13 empty] | 27.1055 |  | 4.9006 | [7 empty] | 4769.3339 | [5 empty] | 1232.1414 | [17 empty] | 15.0341 |  |  |  | 1675.2267 | [5 empty] | 2.3325 | [11 empty] | 720.4624 |  | 1.4416 | [5 empty] | 11.6185 |  | 2.9821 | [5 empty] | 178.1419 |  |  |  |  | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py2(n=24) |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). | [148 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py3(n=21) |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). | [148 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py4a(n=18) |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). | [148 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py4b(n=15) |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). | [148 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py4c(n=23) |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). | [148 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py5(n=26) |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). | [148 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | S.D. = standard deviation, b.d.l = below detection limit. |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). | [148 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Sp1(n=21) |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). | [148 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Sp2(n=17) |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). | [148 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Sp3(n=49) |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). | [148 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py1 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). |  | 3.8699 |  |  |  | 1984.9315 |  | 0.91113 |  |  |  | 1.7156 |  |  |  | 17.88 | [5 empty] | 0.49278 | [5 empty] | 4586.5602 |  | 1.5632 |  |  |  | 1591.9736 | [37 empty] | 13.6237 |  | 0.48066 | [7 empty] | 6634.2346 | [5 empty] | 32.4873 | [17 empty] | 0.28655 |  |  |  | 409.0424 | [5 empty] | 0.032156 | [11 empty] | 10.2298 |  | 0.005325 | [5 empty] | 0.29787 |  | 0.21418 | [5 empty] | 30.0673 |  |  |  |  | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py2 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). |  | 0.070731 |  |  |  | 2.5969 |  | 0.027154 |  |  |  | 0.11606 |  |  |  | 3.0774 | [5 empty] | 0 | [5 empty] | 22.1551 |  | 0 |  |  |  | 300.016 | [37 empty] | 0 |  | 0.018887 | [7 empty] | 0 | [5 empty] | 0.076909 | [17 empty] | 0 |  |  |  | 19.9006 | [5 empty] | 0 | [11 empty] | 6.1413 |  | 0 | [5 empty] | 0.007277 |  | 0.007752 | [5 empty] | 2.2337 |  |  |  |  | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py3 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). |  | 0.032991 |  |  |  | 12.7835 |  | 0 |  |  |  | 0 |  |  |  | 0.45579 | [5 empty] | 0.14978 | [5 empty] | 3.9326 |  | 0 |  |  |  | 1.885 | [37 empty] | 0 |  | 0 | [7 empty] | 0.62221 | [5 empty] | 0.18975 | [17 empty] | 0.038837 |  |  |  | 0 | [5 empty] | 0 | [11 empty] | 7.4236 |  | 0.009417 | [5 empty] | 0 |  | 0 | [5 empty] | 1.2675 |  |  |  |  | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py4a |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). |  | 4.4417 |  |  |  | 3401.4995 |  | 3.0163 |  |  |  | 8.1692 |  |  |  | 20.9187 | [5 empty] | 3.0098 | [5 empty] | 12.9099 |  | 3.9352 |  |  |  | 1649.0399 | [37 empty] | 46.7203 |  | 1.7156 | [7 empty] | 0.32462 | [5 empty] | 7.1917 | [17 empty] | 0.91131 |  |  |  | 82.5897 | [5 empty] | 0.87569 | [11 empty] | 4.0996 |  | 0.032545 | [5 empty] | 0.076512 |  | 0.022219 | [5 empty] | 1073.8923 |  |  |  |  | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py4b |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). |  | 0 |  |  |  | 11417.824 |  | 9.2992 |  |  |  | 0.54909 |  |  |  | 0.48795 | [5 empty] | 0 | [5 empty] | 82.7671 |  | 0.68794 |  |  |  | 8.4128 | [37 empty] | 0.56638 |  | 1.7979 | [7 empty] | 0 | [5 empty] | 0.6542 | [17 empty] | 0 |  |  |  | 63.1892 | [5 empty] | 0.49867 | [11 empty] | 7.2671 |  | 0.017752 | [5 empty] | 0.022425 |  | 0.021328 | [5 empty] | 5.8061 |  |  |  |  | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py4c |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). |  | 16.5464 |  |  |  | 345.9502 |  | 0.78755 |  |  |  | 3.3027 |  |  |  | 0 | [5 empty] | 0.16615 | [5 empty] | 0.29346 |  | 12.7722 |  |  |  | 1083.3621 | [37 empty] | 185.7376 |  | 0 | [7 empty] | 7.0333 | [5 empty] | 282.3394 | [17 empty] | 525.5376 |  |  |  | 0 | [5 empty] | 1.349 | [11 empty] | 55.3372 |  | 184.6522 | [5 empty] | 1.0171 |  | 7.984 | [5 empty] | 41.2955 |  |  |  |  | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Py5 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). |  | 5.6456 |  |  |  | 18.9618 |  | 1.4551 |  |  |  | 4.6429 |  |  |  | 1.4484 | [5 empty] | 1 | [5 empty] | 2234.7164 |  | 9.2791 |  |  |  | 28.5459 | [37 empty] | 16.5221 |  | 3.2715 | [7 empty] | 6.0261 | [5 empty] | 554.4502 | [17 empty] | 9.6014 |  |  |  | 16.9239 | [5 empty] | 1 | [11 empty] | 22.3438 |  | 1.4282 | [5 empty] | 5.5375 |  | 1.7659 | [5 empty] | 104.3396 |  |  |  |  | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Sp1 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). |  | 14.0127 |  |  |  | 94.9597 |  | 0.092427 |  |  |  | 0.069338 | [9 empty] | 1560.7343 | [7 empty] | 27.5609 |  |  |  | 2092.5609 | [9 empty] | 16191.9033 |  | 4.1749 |  |  |  | 136.4573 | [7 empty] | 0.082675 | [13 empty] | 12.7982 |  | 0.16079 | [13 empty] | 12.5836 | [17 empty] | 237.5489 |  |  |  | 15.1867 | [5 empty] | 0.79533 | [11 empty] | 1.9204 | [20 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Sp2 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). |  | 2.4716 |  |  |  | 2.2046 |  | 0.008299 |  |  |  | 0 | [9 empty] | 1473.7831 | [7 empty] | 2.2733 |  |  |  | 5851.0872 | [9 empty] | 2483.7266 |  | 131.8526 |  |  |  | 2.4439 | [7 empty] | 17.7417 | [13 empty] | 433.6222 |  | 0.074955 | [13 empty] | 2.156 | [17 empty] | 0.43516 |  |  |  | 85.0651 | [5 empty] | 4.0392 | [11 empty] | 1.6786 | [20 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang
| Huangtupo Cu-Zn (-Au) deposit |  | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | VMS Cu-Zn-Au | Cu, Zn | Au | Cu, Zn, Au | Sun et al., 2023 |  | Sp3 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, sphalerite | [6 empty] | chalcopyrite, galena, tetrahedrite, pyrrhotite, bornite, magnetite, hematite, quartz, muscovite, barite, chlorite, carbonate, rutile, apatite | polished sections | LA-ICPMS, MC-ICPMS | ASI RESOLution-LR-S155 laser microprobe equipped with a GeoLas Pro 193 nm Ar F excimer laser | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (IGCAS), Guiyang | Line scans were used for trace element analyzed signals, time-drift correction, and quantitative calibration for trace element analysis were performed using the Excel-based software ICPMSData Cal (Liu et al., 2008). Concentration and detection limit calculations were conducted using the protocol of Longerich et al. (1996). |  | 13.161 |  |  |  | 0 |  | 0.022886 |  |  |  | 0.040402 | [9 empty] | 1154.2749 | [7 empty] | 1.7849 |  |  |  | 861.0412 | [9 empty] | 5735.8433 |  | 0.48406 |  |  |  | 0.038392 | [7 empty] | 1.8752 | [13 empty] | 296.5088 |  | 0.013339 | [13 empty] | 10.1552 | [17 empty] | 0.17769 |  |  |  | 17.2948 | [5 empty] | 1.1549 | [11 empty] | 1.4148 | [20 empty] | 2023 | Sun, B., Lv, X., Wang, S., Ulrich, T., Dai, Z., Ruan, B. (2023). Evolution of an ancient VMS ore-forming system recorded by pyrite and sphalerite mineral texture, trace elements, and sulfur isotope: A case study from the Huangtupo Cu-Zn (-Au) deposit, Eastern Tianshan, NW China. Ore Geology Reviews, 158, 105475. |  | CHN | Xinjiang