## Sheet1
Uploaded | deposit_name | deposit_local_id | deposit_environment | deposit_group | deposit_type | primary_commodities | secondary_commodities | all_commodities | deposit_source | sample_uid | sample_name | sample_local_id | feature_type | feature_name | feature_uid | top_depth_m | bottom_depth_m | sample_deposit_relation | sample_type | sampling_method | material_class | material_class_comments | province | strat_unit_name | strat_unit_uid | strat_grouping | earth_material_group | earth_material_qualifier | earth_material | metamorphic_grade | mineral | paragenetic_stage | mode_of_occurrence | texture | color | alteration | sample_description | associated_minerals | sample_preparation | analytical_method | instrument_type_model | laboratory_location/if reported | operating_conditions/if reported | standards_used/if reported | ag_ppm | ag_detection_limit | al_ppm | al_detection_limit | as_ppm | as_detection_limit | au_ppm | au_detection_limit | b_ppm | b_detection_limit | ba_ppm | ba_detection_limit | be_ppm | be_detection_limit | bi_ppm | bi_detection_limit | br_ppm | br_detection_limit | ca_ppm | ca_detection_limit | cd_ppm | cd_detection_limit | ce_ppm | ce_detection_limit | cl_ppm | cl_detection_limit | co_ppm | co_detection_limit | cr_ppm | cr_detection_limit | cs_ppm | cs_detection_limit | cu_ppm | cu_detection_limit | dy_ppm | dy_detection_limit | er_ppm | er_detection_limit | eu_ppm | eu_detection_limit | f_ppm | f_detection_limit | fe_ppm | fe_detection_limit | ga_ppm | ga_detection_limit | gd_ppm | gd_detection_limit | ge_ppm | ge_detection_limit | hf_ppm | hf_detection_limit | hg_ppm | hg_detection_limit | ho_ppm | ho_detection_limit | in_ppm | in_detection_limit | ir_ppm | ir_detection_limit | k_ppm | k_detection_limit | la_ppm | la_detection_limit | li_ppm | li_detection_limit | lu_ppm | lu_detection_limit | mg_ppm | mg_detection_limit | mn_ppm | mn_detection_limit | mo_ppm | mo_detection_limit | na_ppm | na_detection_limit | nb_ppm | nb_detection_limit | nd_ppm | nd_detection_limit | ni_ppm | ni_detection_limit | os_ppm | os_detection_limit | p_ppm | p_detection_limit | pb_ppm | pb_detection_limit | pd_ppm | pd_detection_limit | pr_ppm | pr_detection_limit | pt_ppm | pt_detection_limit | rb_ppm | rb_detection_limit | re_ppm | re_detection_limit | rh_ppm | rh_detection_limit | ru_ppm | ru_detection_limit | s_ppm | s_detection_limit | sb_ppm | sb_detection_limit | sc_ppm | sc_detection_limit | se_ppm | se_detection_limit | si_ppm | si_detection_limit | sm_ppm | sm_detection_limit | sn_ppm | sn_detection_limit | sr_ppm | sr_detection_limit | ta_ppm | ta_detection_limit | tb_ppm | tb_detection_limit | te_ppm | te_detection_limit | th_ppm | th_detection_limit | ti_ppm | ti_detection_limit | tl_ppm | tl_detection_limit | tm_ppm | tm_detection_limit | u_ppm | u_detection_limit | v_ppm | v_detection_limit | w_ppm | w_detection_limit | y_ppm | y_detection_limit | yb_ppm | yb_detection_limit | zn_ppm | zn_detection_limit | zr_ppm | zr_detection_limit | analysis_datetime | publication_date | sample_source | submitter | country | state | deposit_longitude_wgs84 | deposit_latitude_wgs84 | sample_longitude_wgs84 | sample_latitude_wgs84 | sample_easting | sample_northing | sample_utm_zone | sample_location_description | location_source | location_accuracy | comments | last_update
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | K15-290 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [147 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | 78.92 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [8 empty] | 171 | [138 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | 79.0 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [8 empty] | 171.05 | [138 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | ABM |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | 0.009 |  |  |  | 0.2086 | [9 empty] | 0.094568 | [11 empty] | 0.024716 | [5 empty] | 0.032289 | [9 empty] | 45.7089 | [9 empty] | 0.03 | [27 empty] | 0.041233 | [5 empty] | 0.029659 | [15 empty] | 54.0014 |  | 0.007835 |  |  |  | 0.077252 | [33 empty] | 0.026693 |  |  |  |  | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Assemblage 1 |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [147 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | ESM Table 2: EPMA results |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [147 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | KKT |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | 0.004 |  |  |  | 0.048009 | [9 empty] | 0.13295 | [11 empty] | 0.048009 | [5 empty] | 0.019595 | [9 empty] | 46.1529 | [37 empty] | 0.005033 | [5 empty] | 0.012737 | [15 empty] | 53.6825 |  | 0.007026 |  |  |  | 0.3209 | [33 empty] | 0.036251 |  |  |  |  | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Zone |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [147 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Assemblage |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [147 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | S wt% |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [8 empty] | 33.6307 | [138 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Fe wt% |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [8 empty] | 9.0058 | [138 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Zn wt% |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [8 empty] | 57.0376 | [138 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Cd wt% |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [8 empty] | 0.32592 | [138 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Mn wt % |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [147 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Hg wt% |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [147 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | S_apfu |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [8 empty] | 1 | [138 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Fe_apfu |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [8 empty] | 0.15373 | [138 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Zn_apfu |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [8 empty] | 0.83166 | [138 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Mn_apfu |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [147 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Cd_apfu |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [8 empty] | 0.002764 | [138 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Hg_apfu |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [147 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | T [°C]* |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [8 empty] | 348.6092 | [138 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | *Calculated according to Keith et al (2014) |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [147 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | Bi-rich galena |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | 0.36191 | [13 empty] | 9.5141 | [27 empty] | 2.6266 | [43 empty] | 72.2677 | [15 empty] | 9.3854 | [5 empty] | 5.7673 | [38 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | native Bi |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [14 empty] | 97.8441 | [17 empty] | 0.19532 | [9 empty] | 0.44035 | [43 empty] | 0.20285 | [15 empty] | 0.1794 |  | 1.2324 | [37 empty] | 2.1673 |  |  |  |  | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | bismuthinite |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | [14 empty] | 78.3595 | [17 empty] | 0.28248 | [9 empty] | 2.1108 | [43 empty] | 0.7623 | [15 empty] | 17.2795 | [44 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | py-C |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | 9.7873 |  |  |  | 337.4143 |  | 0.16024 | [7 empty] | 0.58774 | [5 empty] | 180.5823 | [5 empty] | 302.0492 | [5 empty] | 96.2096 | [11 empty] | 3.7136 |  |  |  | 1.1917 |  |  |  | 1.6167 | [17 empty] | 8.6042 | [9 empty] | 6.6694 | [5 empty] | 44.373 | [17 empty] | 4.2886 |  |  |  | 87.108 | [5 empty] | 0.21876 | [13 empty] | 0.87614 | [13 empty] | 56695.9064 |  |  |  |  | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | py-R |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | 0.12277 |  |  |  | 259.7453 |  | 0.040863 | [7 empty] | 0.1188 | [5 empty] | 1.049 | [5 empty] | 77.0965 | [5 empty] | 32.9366 | [11 empty] | 0.69816 |  |  |  | 1.1758 | [21 empty] | 3.3888 | [9 empty] | 4.2284 | [5 empty] | 8.9389 | [17 empty] | 0.19134 |  |  |  | 23.9747 | [5 empty] | 0.25404 | [13 empty] | 0.035647 | [13 empty] | 25.9942 |  |  |  |  | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | py |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | 3.8977 |  |  |  | 356.5132 |  | 0.19229 | [7 empty] | 0.65027 | [5 empty] | 8.0925 | [5 empty] | 1.3941 | [5 empty] | 16.9017 | [11 empty] | 0.43078 |  |  |  | 1.1598 |  |  |  | 0.11229 | [17 empty] | 15.5981 | [9 empty] | 13.6056 | [5 empty] | 136.9775 | [17 empty] | 3.6948 |  |  |  | 5.674 | [5 empty] | 0.23287 | [13 empty] | 0.93197 | [13 empty] | 51.3743 |  |  |  |  | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | aspy |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | 121.0533 |  |  |  | 433545.5436 |  | 17.1463 | [7 empty] | 66.9029 | [5 empty] | 1.1689 | [5 empty] | 105.1892 | [5 empty] | 92.7426 | [11 empty] | 0.29709 |  |  |  | 0.87253 |  |  |  | 0.28491 |  |  |  | 0.32 | [13 empty] | 1970.7894 | [9 empty] | 76.1647 | [5 empty] | 81028.9389 | [17 empty] | 11018.4741 |  |  |  | 495.4765 | [5 empty] | 6.2099 | [13 empty] | 11.3812 | [13 empty] | 30.4971 |  |  |  |  | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | po |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | 1.6682 |  |  |  | 9.3585 |  | 0.61442 | [7 empty] | 0.93971 | [5 empty] | 5.0026 | [5 empty] | 39.5376 | [5 empty] | 34699.4885 | [11 empty] | 13.1675 |  |  |  | 1.1534 |  |  |  | 0.19534 | [17 empty] | 1.1534 | [9 empty] | 58.2508 | [5 empty] | 3.4867 | [17 empty] | 0.12183 |  |  |  | 623.3883 | [5 empty] | 0.17686 | [13 empty] | 0.0111 | [13 empty] | 4382.817 |  |  |  |  | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | cpy |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | 369.483 |  |  |  | 0.43818 |  | 0.12288 | [7 empty] | 0.64648 | [5 empty] | 5.9434 | [5 empty] | 16.6821 | [15 empty] | 317013.597 |  | 0.25639 |  |  |  | 0.89362 |  |  |  | 0.18536 |  |  |  | 0.55997 | [13 empty] | 1.4014 | [9 empty] | 43.141 | [5 empty] | 3.2853 | [17 empty] | 4.1047 |  |  |  | 606.8516 | [5 empty] | 34.6834 | [13 empty] | 0.19071 | [13 empty] | 1741.6594 |  |  |  |  | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | gal |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | 4936.5402 |  |  |  | 141.9356 |  | 0.009133 | [7 empty] | 7412.2585 | [5 empty] | 8.6611 | [5 empty] | 1.7437 | [5 empty] | 48.1791 | [9 empty] | 144.1361 |  | 8.8124 |  |  |  | 0.4214 | [7 empty] | 0.54975 | [13 empty] | 7.5271 | [9 empty] | 14.486 | [23 empty] | 89.9529 |  |  |  | 59028.7344 | [5 empty] | 4.8585 | [7 empty] | 0.51582 | [5 empty] | 103.088 | [13 empty] | 466.9332 |  |  |  |  | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon
| ABM deposit | ABM | Seafloor hydrothermal | Volcanic-hosted massive sulfide (VMS) | Bimodal-felsic replacement-style VMS | Zn, Cu, Pb | Au, Ag | Zn, Cu, Pb, Au, Ag, Co, Bi, Se, Hg, As, Sb, Ba | van Olden et al., 2020; Denisová and Piercey, 2022; Manor et al., 2022a |  | sph |  | drill core |  |  |  |  | ore material | drill core | drill core | mineral separate | [5 empty] | mineralisation |  |  |  | pyrite, chalcopyrite, sphalerite, magnetite, pyrrhotite, galena, tennantite, tetrahedrite, freibergite | [6 empty] | white mica, chlorite, quartz, biotite, carbonates, epidote, amphibole | polished thin sections | EMPA, LA-ICPMS | FEI MLA 650FEG instrument equipped with dual Bruker 5th generation XFlash SDD X-ray detectors; Geo Las 193 nm excimer laser (Coherent) coupled to a Thermo Finnigan ELEMENT XR ICP-MS | Micro Analysis Facility at MUN-CREAIT | accelerating voltage of 25 kV, a 2-nA beam current, focused to 1 µm, with elemental counting times between 5 and 30 s | Internal standards were measured periodically to demonstrate their reproducibility | 1.8005 |  |  |  | 0.13914 |  | 0.089962 | [7 empty] | 1.2461 | [5 empty] | 1484.7755 | [5 empty] | 9.8781 | [5 empty] | 214.8317 | [9 empty] | 34915.325 |  | 0.075162 |  |  |  | 0.17315 |  |  |  | 2.7528 |  |  |  | 0.43203 | [13 empty] | 499.1028 | [9 empty] | 3.4242 | [5 empty] | 67.5089 | [17 empty] | 0.25652 |  |  |  | 154.7746 | [5 empty] | 0.10063 | [13 empty] | 0.0145 | [18 empty] | 2024 | Denisová and Piercey (2024), In situ sulfide mineral chemistry of the ABM replacement-style VMS deposit, Finlayson Lake district, Yukon, Canada, Mineralium Deposita, 59, 473–503 |  | CAN | Yukon