| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | RD-CM-prov1-9 | RD-CM-prov1-9 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 4.1589 | [19 empty] | 3577.49 | [5 empty] | 0.053005 | [5 empty] | 118.878 | [9 empty] | 537 |  | 95.1165 |  |  |  | 0.56873 | [7 empty] | 9.4794 | [13 empty] | 538.638 | [15 empty] | 12.9142 | [17 empty] | 0.026361 | [9 empty] | 0.21146 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | RD-CM-prov1-10 | RD-CM-prov1-10 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 4.4877 | [19 empty] | 3546.12 | [5 empty] | 0.061623 | [5 empty] | 137.555 | [9 empty] | 554.831 |  | 95.6522 |  |  |  | 0.98578 | [7 empty] | 9.0223 | [13 empty] | 533.925 | [15 empty] | 23.2529 | [17 empty] | 0.29664 | [9 empty] | 0.27608 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | RD-CM-prov1-11 | RD-CM-prov1-11 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 3.9193 | [19 empty] | 3574.28 | [5 empty] | 0.05845 | [5 empty] | 121.594 | [9 empty] | 541.049 |  | 90.2247 |  |  |  | 1.5004 | [7 empty] | 10.4562 | [13 empty] | 465.606 | [15 empty] | 30.4547 | [17 empty] | 0.25839 | [9 empty] | 0.60081 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | RD-CM-prov1-12 | RD-CM-prov1-12 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 3.7136 | [19 empty] | 3709.72 | [5 empty] | 0.058888 | [5 empty] | 113.962 | [9 empty] | 577.205 |  | 85.4108 |  |  |  | 0.67679 | [7 empty] | 11.2062 | [13 empty] | 446.434 | [15 empty] | 5.9381 | [17 empty] | 0.052402 | [9 empty] | 0.23206 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | RD-CM-prov1-13 | RD-CM-prov1-13 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 3.496 | [19 empty] | 3833.67 | [5 empty] | 0.057359 | [5 empty] | 112.219 | [9 empty] | 595.995 |  | 77.8348 |  |  |  | 0.80435 | [7 empty] | 10.4011 | [13 empty] | 472.237 | [15 empty] | 12.5069 | [17 empty] | 0.14246 | [9 empty] | 0.26129 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | RD-CM-prov1-14 | RD-CM-prov1-14 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 2.8979 | [19 empty] | 3905.14 | [5 empty] | 0.072822 | [5 empty] | 112.878 | [9 empty] | 636.077 |  | 77.2696 |  |  |  | 0.72642 | [7 empty] | 10.693 | [13 empty] | 416.674 | [15 empty] | 16.6007 | [17 empty] | 0.23597 | [9 empty] | 0.32374 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | RD-CM-prov2-1 | RD-CM-prov2-1 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 9.2791 | [19 empty] | 3553.87 | [5 empty] | 0.053603 | [5 empty] | 150.983 | [9 empty] | 19.3213 |  | 77.993 |  |  |  | 0.339 | [7 empty] | 5.9494 | [13 empty] | 466.472 | [15 empty] | 5.8256 | [17 empty] | 0.034148 | [9 empty] | 0.14366 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | RD-CM-prov2-2 | RD-CM-prov2-2 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 21.3228 | [19 empty] | 3702.94 | [5 empty] | 0.056564 | [5 empty] | 163.285 | [9 empty] | 4.6754 |  | 72.6215 |  |  |  | 0.89038 | [7 empty] | 7.3245 | [13 empty] | 412.878 | [15 empty] | 26.4075 | [17 empty] | 0.15653 | [9 empty] | 0.43779 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | RD-CM-prov2-3 | RD-CM-prov2-3 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 16.009 | [19 empty] | 3413.38 | [5 empty] | 0.052892 | [5 empty] | 172.211 | [9 empty] | 16.9781 |  | 81.6913 |  |  |  | 0.23261 | [7 empty] | 8.5931 | [13 empty] | 439.863 | [15 empty] | 7.3046 | [17 empty] | 0.035454 | [9 empty] | 0.1664 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | FE-1 | FE-1 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 500 | [19 empty] | 900 | [5 empty] | 200 | [5 empty] | 3100 | [9 empty] | 13700 | [5 empty] | 100 | [7 empty] | 500 | [13 empty] | 500 | [15 empty] | 1200 | [17 empty] | 300 | [9 empty] | 500 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | FC-1 | FC-1 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 400 | [19 empty] | 1300 | [5 empty] | 200 | [5 empty] | 2200 | [9 empty] | 23000 | [5 empty] | 100 | [7 empty] | 500 | [13 empty] | 200 | [15 empty] | 1200 | [17 empty] | 400 | [9 empty] | 500 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | FZ-1 | FZ-1 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 400 | [19 empty] | 700 | [5 empty] | 200 | [5 empty] | 1300 | [9 empty] | 13100 | [5 empty] | 200 | [7 empty] | 500 | [13 empty] | 300 | [15 empty] | 1200 | [17 empty] | 400 | [9 empty] | 600 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | MC-1 | MC-1 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 400 | [19 empty] | 2000 | [5 empty] | 200 | [5 empty] | 3900 | [9 empty] | 26900 | [5 empty] | 100 | [7 empty] | 1900 | [13 empty] | 100 | [15 empty] | 1200 | [17 empty] | 500 | [9 empty] | 3000 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | MCZ-1 | MCZ-1 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 400 | [19 empty] | 2000 | [5 empty] | 200 | [5 empty] | 4800 | [9 empty] | 21300 | [5 empty] | 0 | [7 empty] | 1500 | [13 empty] | 100 | [15 empty] | 2000 | [17 empty] | 1300 | [9 empty] | 800 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | MZ-1 | MZ-1 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 400 | [19 empty] | 1500 | [5 empty] | 200 | [5 empty] | 2100 | [9 empty] | 31500 | [5 empty] | 100 | [7 empty] | 300 | [13 empty] | 200 | [15 empty] | 1200 | [17 empty] | 300 | [9 empty] | 900 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | MZP-1 | MZP-1 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 300 | [19 empty] | 1200 | [5 empty] | 200 | [5 empty] | 2200 | [9 empty] | 21800 | [5 empty] | 100 | [7 empty] | 1500 | [13 empty] | 200 | [15 empty] | 1400 | [17 empty] | 400 | [9 empty] | 1800 | [35 empty] | CHN | Tibet
| Lawu |  | Magmatic hydrothermal | Skarn | Cu-Pb-Zn skarn | Cu, Pb, Zn | In, Sn | Cu, Pb, Zn, In, Sn |  |  | MP-1 | MP-1 | underground mine |  |  |  |  | ore material | drill core | underground mining tunnels and drill cores | mineral separate | [5 empty] | mineralisation |  |  |  | sphalerite, chalcopyrite, pyrrhotite, pyrite, arsenopyrite | [6 empty] | galena, bismuthinite, marcasite, iron oxides, pyroxene, actinolite, quartz | thin sections and polished blocks examined using optical microscope, BSE detector, and EDS prior to analysis | EMPA, LA-ICPMS | JEOL JXA-8230 electron probe microanalyzer; RESOlution-LR 193 nm ArF excimer laser ablation system coupled to an Agilent 7700x ICP–MS | Laboratory of Mineral Resources Research Center, Fuzhou University; Adelaide Microscopy, the University of Adelaide | EPMA point analysis: accelerating voltage 15 kV, beam current 20 nA, beam diameter ~5 μm; EPMA mapping: accelerating voltage 20 kV, working current 50 nA, dwell time ~10 ms; BSE imaging: accelerating voltage 20 kV, beam current 10 nA; LA–ICP–MS: energy density 3~3.5 J/cm2, spot sizes 29 to 51 μm, repetition rates 5 Hz (polished thin-section) and 10 Hz (polished blocks), ~30 s background acquisition, ~40 s sample data acquisition | STDGL3 (Danyushevsky et al. 2011) and GSD-1G (USGS) | 500 | [19 empty] | 1200 | [5 empty] | 200 | [5 empty] | 3600 | [9 empty] | 31000 | [5 empty] | 100 | [7 empty] | 1700 | [13 empty] | 200 | [15 empty] | 1300 | [17 empty] | 600 | [9 empty] | 1400 | [35 empty] | CHN | Tibet