## Sheet1
Appendix Table S2 Calculation process for In contents correction of sphalerite by LA-ICP-MS
| Measured CIn115 (ppm) | Measured IIn115 (cps) | Measured ISn118 (cps) | Corrected IIn115 (cps) | Corrected ratio for sample |  | Measured IIn115 (cps) | Measured ISn118 (cps) | Corrected IIn115 (cps) | Corrected ratio for external standard | Corrected CIn115 (ppm)
101A-2@L3 | 165.987 | 165923.5717 | 1971.4505 | 165895.908 | 0.99983 | MASS-1 | 13334.0506 | 3652.5439 | 13282.7974 | 0.99616 | 166.5847
101A-2@L5 | 181.6054 | 178485.2623 | 2004.7723 | 178457.131 | 0.99984 | MASS-1 | 15867.0396 | 3956.9351 | 15811.5151 | 0.9965 | 182.261
101A-2@L6 | 204.5478 | 190098.9315 | 1342.1557 | 190080.0981 | 0.9999 | MASS-1 | 13313.1227 | 3763.416 | 13260.3138 | 0.99603 | 205.2982
101A-3@L7 | 277.4645 | 256346.813 | 263.4192 | 256343.1166 | 0.99999 | MASS-1 | 14515.9448 | 3966.9359 | 14460.28 | 0.99617 | 278.506
101A-3@L10 | 472.9015 | 331030.9429 | 3340.5739 | 330984.0673 | 0.99986 | MASS-1 | 11508.1248 | 3093.2696 | 11464.7195 | 0.99623 | 474.6162
101A-3@L11 | 552.0434 | 391819.6101 | 4564.2654 | 391755.5634 | 0.99984 | MASS-1 | 13348.4914 | 3534.322 | 13298.8971 | 0.99628 | 554.033
101A-3@L13 | 678.7548 | 483558.9029 | 24024.8782 | 483221.7812 | 0.9993 | MASS-1 | 21500.6741 | 5791.6799 | 21419.4042 | 0.99622 | 680.8374
101A-3@L14 | 720.398 | 507791.4125 | 16470.0307 | 507560.3019 | 0.99954 | MASS-1 | 18403.3972 | 4807.9378 | 18335.9313 | 0.99633 | 722.7834
101A-3@L15 | 561.7592 | 412787.8255 | 8367.4202 | 412670.4122 | 0.99972 | MASS-1 | 16935.0545 | 4530.83 | 16871.477 | 0.99625 | 563.7156
101A-4@L17 | 249.1786 | 182036.2549 | 913.225 | 182023.4404 | 0.99993 | MASS-1 | 17992.1467 | 4820.6104 | 17924.503 | 0.99624 | 250.0999
101A-4@L19 | 260.4535 | 183322.3874 | 214.2734 | 183319.3806 | 0.99998 | MASS-1 | 19223.0882 | 5071.498 | 19151.924 | 0.9963 | 261.4306
101B-2@L26 | 30.9458 | 20970.801 | 252.4988 | 20967.2579 | 0.99983 |  |  |  | Average | 0.99625 | 31.0571
101B-2@L27 | 48.2686 | 32441.3305 | 381.0943 | 32435.983 | 0.99984 | [5 empty] | 48.4425
101B-2@L28 | 89.9298 | 59191.9037 | 301.7039 | 59187.6702 | 0.99993 | [5 empty] | 90.2622
101B-2@L29 | 107.1373 | 69381.4088 | 2186.3128 | 69350.73 | 0.99956 | [5 empty] | 107.4935
101B-2@L30 | 175.5824 | 116513.2695 | 8181.6167 | 116398.4635 | 0.99901 | [5 empty] | 176.0704
201B-1@L34 | 399.601 | 510812.5143 | 30261.858 | 510387.8741 | 0.99917 | [5 empty] | 400.7732
201B-1@L35 | 452.2172 | 580242.1651 | 38748.3047 | 579698.4415 | 0.99906 | [5 empty] | 453.4959
201B-1@L36 | 516.2255 | 615639.3139 | 13286.8327 | 615452.8705 | 0.9997 | [5 empty] | 518.0138
201B-1@L37 | 399.5761 | 500567.6202 | 2905.1858 | 500526.8541 | 0.99992 | [5 empty] | 401.0491
201B-1@L38 | 280.4006 | 349506.8835 | 25142.7806 | 349154.0752 | 0.99899 | [5 empty] | 281.173
303@L47 | 605.546 | 547918.0662 | 2918.6539 | 547877.1111 | 0.99993 | [5 empty] | 607.7824
303@L48 | 628.3807 | 564480.9566 | 1040.5226 | 564466.3558 | 0.99997 | [5 empty] | 630.7321
303@L49 | 617.7627 | 557224.6088 | 6125.7408 | 557138.6512 | 0.99985 | [5 empty] | 619.9948
303@L50 | 541.403 | 476892.5002 | 23183.0927 | 476567.1906 | 0.99932 | [5 empty] | 543.0724
303@L51 | 406.1501 | 359215.4356 | 30683.7027 | 358784.876 | 0.9988 | [5 empty] | 407.1919
303@L52 | 513.6951 | 452597.0176 | 827.4088 | 452585.4073 | 0.99997 | [5 empty] | 515.6175
303@L54 | 592.5163 | 519245.1605 | 5890.5196 | 519162.5036 | 0.99984 | [5 empty] | 594.6542
303@L55 | 609.8657 | 540009.7892 | 9262.0106 | 539879.8229 | 0.99976 | [5 empty] | 612.0164
303@L56 | 457.4971 | 398664.8301 | 8317.9612 | 398548.1109 | 0.99971 | [5 empty] | 459.0865
303@L57 | 296.7452 | 259172.1275 | 11678.4558 | 259008.2532 | 0.99937 | [5 empty] | 297.6751