## Summary
T1_metadata_% | T2_numerical_% | T3_structural_% | T4_null_% | overall_%
82.88 | 100 | 100 | 97.61 | 94.51

## Metadata
field | predicted | ground_truth | score_% | note
deposit_name | Su-Cha | Su-Cha | 100 | Exact match
deposit_environment | Seafloor hydrothermal | Basin hydrothermal | 71.8 | Mismatch (sim=0.72)
deposit_group | Sedimentary Exhalative (SEDEX) | Mississippi Valley-type (MVT) | 25.5 | Mismatch (sim=0.25)
deposit_type | SEDEX zinc-lead | MVT zinc-lead | 71.4 | Mismatch (sim=0.71)
all_commodities | Pb, Zn | Pb, Zn | 100 | Exact match
mineral | pyrite | pyrite | 100 | Exact match
analytical_method | LA-ICPMS | LA-ICPMS | 100 | Exact match
instrument_type_model | Thermo Element II single-receiver high-resolution magnetic sector ICP-MS coupled to a New Wave UP 213 | Thermo Element II single-receiver high-resolution magnetic sector ICP-MS coupled to a New Wave UP 213 | 100 | Exact match
laboratory_location/if reported | National Testing Centre of the Chinese Academy of Geological Sciences | National Testing Centre of the Chinese Academy of Geological Sciences | 100 | Exact match
operating_conditions/if reported | 40 μm spot size with a repetition rate of 10 Hz, 10–30 J/cm2 laser flow and energy of 0.176 m J. During the analysis process, first 15 s of background value acquisition, then 45 s of sample denudation, and finally 15 s of cleaning the system. The exfoliated material was carried by Helium. | 40 μm spot size with a repetition rate of 10 Hz, 10–30 J/cm2 laser flow and energy of 0.176 mJ. During the analysis process, first 15 s of background value acquisition, then 45 s of sample denudation, and finally 15 s of cleaning the system; Li, Be, B, Na, Mg, Al, Si, P, S, K, Ca, Sc, Ti, V, Cr, Mn, Co, Ni, Cu, Ga, Ge, As, Se, Rb, Sr, Y, Zr, Nb, Mo, Ag, Cd, In, Sn, Sb, Te, Cs, Ba, La, Ce, Pr, Nd, Sm, Eu, Gd, Tb, Dy, Ho, Er, Tm, Yb, Lu, Hf, Ta, W, Re, Au, Tl, Bi, Pb, Th, U | 68.8 | Mismatch (sim=0.69)
standards_used/if reported | Mass-1 (Wilson et al., 2002) | Mass-1 | 40 | Mismatch (sim=0.40)
country | CHN | CHN | 100 | Exact match
publication_date | 2023 | 2023 | 100 | Exact match

## Elements
element_field | n_evaluated | mean_score_%
ag_ppm | 50 | 100
al_ppm | 46 | 100
as_ppm | 49 | 100
au_ppm | 21 | 100
b_ppm | 30 | 100
ba_ppm | 44 | 100
be_ppm | 35 | 100
bi_ppm | 39 | 100
ca_ppm | 14 | 100
cd_ppm | 43 | 100
ce_ppm | 43 | 100
co_ppm | 48 | 100
cr_ppm | 45 | 100
cs_ppm | 45 | 100
cu_ppm | 50 | 100
dy_ppm | 32 | 100
er_ppm | 28 | 100
eu_ppm | 27 | 100
fe_ppm | 52 | 100
ga_ppm | 32 | 100
gd_ppm | 25 | 100
ge_ppm | 47 | 100
hf_ppm | 36 | 100
ho_ppm | 26 | 100
in_ppm | 49 | 100
k_ppm | 52 | 100
la_ppm | 39 | 100
li_ppm | 31 | 100
lu_ppm | 23 | 100
mg_ppm | 48 | 100
mn_ppm | 48 | 100
mo_ppm | 37 | 100
na_ppm | 48 | 100
nb_ppm | 37 | 100
nd_ppm | 40 | 100
ni_ppm | 52 | 100
p_ppm | 17 | 100
pb_ppm | 52 | 100
pr_ppm | 35 | 100
rb_ppm | 44 | 100
re_ppm | 12 | 100
s_ppm | 38 | 100
sb_ppm | 52 | 100
sc_ppm | 18 | 100
se_ppm | 42 | 100
si_ppm | 18 | 100
sm_ppm | 33 | 100
sn_ppm | 52 | 100
sr_ppm | 48 | 100
ta_ppm | 16 | 100
tb_ppm | 31 | 100
th_ppm | 35 | 100
ti_ppm | 38 | 100
tl_ppm | 51 | 100
tm_ppm | 25 | 100
u_ppm | 31 | 100
v_ppm | 39 | 100
w_ppm | 45 | 100
y_ppm | 37 | 100
yb_ppm | 24 | 100
zn_ppm | 35 | 100
zr_ppm | 48 | 100

## Samples
sample_name | numerical_score_% | null_score_%
645-01-1 | 100 | 100
645-08-1-1 | 100 | 100
645-08-2-1 | 100 | 100
645-09-1 | 100 | 57.58
645-09-2 | 100 | 100
645-09-3 | 100 | 100
645-09-4 | 100 | 100
645-09-5 | 100 | 100
670-04-1 | 100 | 100
670-04-2 | 100 | 100
670-04-3 | 100 | 100
670-04-4 | 100 | 100
670-04-5 | 100 | 100
670-04-6 | 100 | 100
670-09-1 | 100 | 85.19
670-09-2 | 100 | 100
670-09-3 | 100 | 100
670-09-4 | 100 | 100
670-10-1 | 100 | 72.22
670-10-2 | 100 | 100
670-10-3 | 100 | 100
670-10-4 | 100 | 100
670-11-1 | 100 | 100
670-11-2 | 100 | 100
670-11-3 | 100 | 100
670-13-1 | 100 | 60.71
670-13-2 | 100 | 100
670-13-3 | 100 | 100
ZK0130-05-1 | 100 | 100
ZK0130-05-2 | 100 | 100
ZK0132-21-1 | 100 | 100
ZK0132-21-2 | 100 | 100
ZK0431-27-1 | 100 | 100
ZK0431-27-2 | 100 | 100
ZK0530-1-36-1 | 100 | 100
ZK0530-1-36-2 | 100 | 100
ZK0532-35-1 | 100 | 100
ZK0932-33-1 | 100 | 100
ZK0933-03-1 | 100 | 100
ZK0933-05-1 | 100 | 100
ZK0933-05-2 | 100 | 100
ZK1330-07-1 | 100 | 100
ZK1330-07-2 | 100 | 100
ZK1330-19-1 | 100 | 100
ZK1330-19-2 | 100 | 100
ZK1530-65-1 | 100 | 100
ZK1530-65-2 | 100 | 100
ZK1530-65-3 | 100 | 100
ZK1730-04-1 | 100 | 100
ZK1730-04-2 | 100 | 100
ZK1730-30-1 | 100 | 100
ZK1730-30-2 | 100 | 100