## Summary
T1_metadata_% | T2_numerical_% | T3_structural_% | T4_null_% | overall_%
68.05 | 7.76 | 13.5 | 89.35 | 38.94

## Metadata
field | predicted | ground_truth | score_% | note
deposit_name | Baiyangping | Baiyangping | 100 | Exact match
deposit_environment | Basin hydrothermal | Basin hydrothermal | 100 | Exact match
deposit_group | unknown | Sediment-hosted | 18.2 | Mismatch (sim=0.18)
deposit_type | sediment-hosted Cu-Pb-Zn | Unknown | 19.4 | Mismatch (sim=0.19)
all_commodities | Cu, Pb, Zn | Zn, Pb, Cu, Ag, Co | 60 | Mismatch (sim=0.60)
mineral | sphalerite, pyrite | sphalerite | 74.1 | Mismatch (sim=0.74)
analytical_method | LA-ICPMS | LA-ICPMS | 100 | Exact match
instrument_type_model | Coherent Geo Las Pro 193 nm Laser Ablation system coupled with an Agilent 7700x ICP–MS | Coherent GeoLasPro 193 nm Laser Ablation system coupled with an Agilent 7700x ICP–MS | 98.8 | Fuzzy match (0.99)
laboratory_location/if reported | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences | State Key Laboratory of Ore Deposit Geochemistry | 64 | Mismatch (sim=0.64)
operating_conditions/if reported | 26 μm spots at 6 Hz with energy of ~ 55 m J/pulse for 45 s after measuring the gas blank for 20 s | 55 mJ/pulse, with a repetition rate of 6 Hz and a spot diameter of 26 μm. Each analysis included a 45-second period for laser ablation followed by a 20-second background measurement | 27.5 | Mismatch (sim=0.28)
standards_used/if reported | STDGL3 and MASS-1 as external standards; GSD-1G as quantity control of the time-dependent sensitivity drift | Standard reference materials from the USGS, STDGL3 and MASS-1 | 22.7 | Mismatch (sim=0.23)
country | CHN | CHN | 100 | Exact match
publication_date | 2024 | 2024 | 100 | Exact match

## Elements
element_field | n_evaluated | mean_score_%
ag_ppm | 11 | 0
as_ppm | 11 | 26.29
bi_ppm | 2 | 0
cd_ppm | 11 | 0
co_ppm | 8 | 0
cu_ppm | 10 | 31.17
fe_ppm | 11 | 0
ga_ppm | 10 | 0
ge_ppm | 9 | 0
mn_ppm | 8 | 0
pb_ppm | 11 | 8.21
sb_ppm | 9 | 25.47
tl_ppm | 8 | 17.99
zn_ppm | 11 | 0.06

## Samples
sample_name | numerical_score_% | null_score_%
B16-1 | 3.52 | 83.61
B16-2 | 19.14 | 83.61
B16-3 | 16.84 | 83.05
F4-1 | 0 | 100
F4-2 | 0 | 100
L12-18 | 0 | 100
L2-1 | 15.53 | 83.33
L2-13 | 0 | 100
L2-2 | 6.32 | 83.33
L2-3 | 14.45 | 82.26
L2-4 | 9.52 | 83.61