## Summary
T1_metadata_% | T2_numerical_% | T3_structural_% | T4_null_% | overall_%
72 | 99.9 | 100 | 100 | 91.56

## Metadata
field | predicted | ground_truth | score_% | note
deposit_name | Zhaxikang | Zhaxikang | 100 | Exact match
deposit_environment | Metamorphic | unknown | 11.1 | Mismatch (sim=0.11)
deposit_group | unknown | unknown | 100 | Exact match
deposit_type | Pb-Zn-Sb-Ag polymetallic | unknown | 12.9 | Mismatch (sim=0.13)
all_commodities | Pb, Zn, Sb, Ag, Au, Be, W, Sn | Pb, Zn, Sb, Ag | 66.7 | Mismatch (sim=0.67)
mineral | sphalerite | sphalerite | 100 | Exact match
analytical_method | LA-ICPMS | LA-ICPMS | 100 | Exact match
instrument_type_model | ASI RESOLution-LR-S155 laser coupled with ICP-MS; Agilent 7700x ICPMS connected to a RESOLution-LR-S155 laser; Nu Plasma III MC-ICPMS (Nu Instruments) connected to a RESOlution-155 Ar F193-nm laser ablation system (Australian Scientific Instruments) | ASI RESOLution-LRS155 laser microprobe equipped with a Coherent Compex-Pro 193 nm ArF excimer laser. An Agilent 7700x ICPMS instrument was used to acquire ion-signal intensities. | 48.2 | Mismatch (sim=0.48)
laboratory_location/if reported | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (SKLODG) | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences (SKLODG) | 100 | Exact match
operating_conditions/if reported | 26 μm pit size, 5 Hz pulse frequency, 3 J·cm−2 fluence; He carrier gas (350 ml/min); Ar transport gas (900 ml/min); 30 s background acquisition, 60 s data acquisition; imaging: beam size 15 or 25 μm, repetition rate 10 Hz, rastering at 15 or 25 μm/s | Helium (350 ml/min) was applied as a carrier gas. The ablated aerosol was mixed with Ar (900 ml/min) as a transport gas, before exiting the cell. Each analysis incorporated a background acquisition of approximately 30 s (gas blank) followed by 60 s of data acquisition from the sample. Analysis was run with 26 μm pit size, 5 Hz pulse frequency, and 3 J⋅cm􀀀 2 fluence. 55Mn, 57Fe, 59Co, 60Ni, 65Cu, 66Zn, 69Ga, 72Ge, 75As, 77Se, 95Mo, 107Ag, 111Cd, 115In, 118Sn, 121Sb, 125Te, 205Tl, 208Pb and 209Bi | 32.5 | Mismatch (sim=0.33)
standards_used/if reported | MASS-1 analyzed as unknown sample to check analytical accuracy; Py used for calibration of sulfur concentrations; sulfide reference material MASS-1 | STDGL3, GSD-1G. In-house standard pure pyrite Py was used for the calibration of the concentrations of sulfur. Sulfide reference material MASS-1 was analyzed as an unknown sample to check the analytical accuracy. | 64.5 | Mismatch (sim=0.65)
country | CHN | CHN | 100 | Exact match
publication_date | 2024 | 2024 | 100 | Exact match

## Elements
element_field | n_evaluated | mean_score_%
ag_ppm | 87 | 100
as_ppm | 43 | 100
bi_ppm | 13 | 99.13
cd_ppm | 87 | 100
co_ppm | 32 | 99.55
cu_ppm | 87 | 100
fe_ppm | 87 | 100
ga_ppm | 87 | 100
ge_ppm | 24 | 100
in_ppm | 87 | 100
mn_ppm | 87 | 100
mo_ppm | 51 | 98.62
ni_ppm | 16 | 100
pb_ppm | 72 | 100
sb_ppm | 67 | 100
se_ppm | 25 | 100
sn_ppm | 87 | 100
te_ppm | 20 | 100
tl_ppm | 12 | 99.35

## Samples
sample_name | numerical_score_% | null_score_%
zxk02-1Sp-01 | 100 | 100
zxk02-1Sp-02 | 100 | 100
zxk02-1Sp-03 | 100 | 100
zxk02-1Sp-04 | 99.7 | 100
zxk02-1Sp-05 | 100 | 100
zxk02-1Sp-1 | 100 | 100
zxk02-1Sp-10 | 100 | 100
zxk02-1Sp-11 | 99.99 | 100
zxk02-1Sp-11(2) | 100 | 100
zxk02-1Sp-12 | 99.47 | 100
zxk02-1Sp-13 | 100 | 100
zxk02-1Sp-14 | 100 | 100
zxk02-1Sp-15 | 100 | 100
zxk02-1Sp-16 | 100 | 100
zxk02-1Sp-17 | 99.91 | 100
zxk02-1Sp-18 | 100 | 100
zxk02-1Sp-19 | 100 | 100
zxk02-1Sp-2 | 100 | 100
zxk02-1Sp-20 | 100 | 100
zxk02-1Sp-23 | 100 | 100
zxk02-1Sp-24 | 100 | 100
zxk02-1Sp-25 | 99.16 | 100
zxk02-1Sp-27 | 100 | 100
zxk02-1Sp-29 | 100 | 100
zxk02-1Sp-29(2) | 100 | 100
zxk02-1Sp-3 | 100 | 100
zxk02-1Sp-31 | 100 | 100
zxk02-1Sp-33 | 100 | 100
zxk02-1Sp-34 | 100 | 100
zxk02-1Sp-36 | 100 | 100
zxk02-1Sp-37 | 100 | 100
zxk02-1Sp-38 | 100 | 100
zxk02-1Sp-41 | 99.58 | 100
zxk02-1Sp-42 | 98.53 | 100
zxk02-1Sp-43 | 100 | 100
zxk02-1Sp-44 | 100 | 100
zxk02-1Sp-45 | 100 | 100
zxk02-1Sp-46 | 100 | 100
zxk02-1Sp-48 | 100 | 100
zxk02-1Sp-5 | 99.97 | 100
zxk02-1Sp-50 | 100 | 100
zxk02-1Sp-6 | 99.88 | 100
zxk02-1Sp-8 | 99.77 | 100
zxk02-1Sp-9 | 99.76 | 100
zxk06-3Sp-01 | 100 | 100
zxk06-3Sp-02 | 100 | 100
zxk06-3Sp-03 | 99.35 | 100
zxk06-3Sp-04 | 100 | 100
zxk06-3Sp-05 | 99.95 | 100
zxk06-3Sp-06 | 99.88 | 100
zxk06-3Sp-07 | 100 | 100
zxk06-3Sp-08 | 100 | 100
zxk06-3Sp-09 | 99.84 | 100
zxk06-3Sp-10 | 100 | 100
zxk06-3Sp-11 | 100 | 100
zxk06-3Sp-12 | 100 | 100
zxk06-3Sp-13 | 100 | 100
zxk06-3Sp-14 | 99.59 | 100
zxk06-3Sp-15 | 99.9 | 100
zxk06-3Sp-16 | 100 | 100
zxk06-3Sp-17 | 100 | 100
zxk06-3Sp-18 | 100 | 100
zxk06-3Sp-18(2) | 100 | 100
zxk06-3Sp-19 | 100 | 100
zxk08-1Sp-10 | 100 | 100
zxk08-1Sp-11 | 100 | 100
zxk08-1Sp-2 | 100 | 100
zxk08-1Sp-3 | 100 | 100
zxk08-1Sp-4 | 100 | 100
zxk08-1Sp-5 | 100 | 100
zxk08-1Sp-6 | 100 | 100
zxk08-1Sp-7 | 100 | 100
zxk08-1Sp-8 | 99.84 | 100
zxk08-1Sp-8(2) | 100 | 100
zxk08-1Sp-9 | 100 | 100
zxk08-2Sp-1 | 100 | 100
zxk08-2Sp-2 | 99.57 | 100
zxk08-2Sp-22 | 100 | 100
zxk08-2Sp-23 | 99.84 | 100
zxk08-2Sp-3 | 99.62 | 100
zxk08-2Sp-4 | 99.35 | 100
zxk08-2Sp-5 | 100 | 100
zxk08-2Sp-6 | 99.35 | 100
zxk08-5Sp-1 | 100 | 100
zxk08-5Sp-10 | 99.73 | 100
zxk08-5Sp-10(2) | 100 | 100
zxk08-5Sp-8 | 100 | 100