## Summary
T1_metadata_% | T2_numerical_% | T3_structural_% | T4_null_% | overall_%
68.08 | 99.83 | 9.09 | 87.16 | 74.79

## Metadata
field | predicted | ground_truth | score_% | note
deposit_name | DG | Djebel Gustar | 0 | Mismatch (sim=0.00)
deposit_environment | Basin hydrothermal | Basin - hydrothermal | 100 | Exact match
deposit_group | Mississippi Valley-type (MVT) | Mississippi Valley-type (MVT) | 100 | Exact match
deposit_type | MVT zinc-lead | MVT zinc-lead | 100 | Exact match
mineral | sphalerite | sphalerite | 100 | Exact match
analytical_method | LA-ICPMS, SEM-EDS | LA-ICPMS | 50 | Mismatch (sim=0.50)
instrument_type_model | ESI NWR213 Nd:YAG laser ablation system coupled to an Agilent 8800 triple quadrupole ICP-MS; Thermo Fisher Scientific Quattro S field emission scanning electron microscope (FEG-SEM) equipped with an Oxford Instruments-Ultim Max 65 energy dispersive (EDS) detector | ESI NWR213 Nd:YAG laser ablation system coupled to an Agilent 8800 triple quadrupole ICP-MS | 41 | Mismatch (sim=0.41)
laboratory_location/if reported | Department of Applied Geosciences and Geophysics, Montanuniversität Leoben, Austria; Faculty of Natural Sciences and Engineering, University of Ljubljana | Department of Applied Geosciences and Geophysics, Montanuniversity at Leoben, Austria | 47.1 | Mismatch (sim=0.47)
operating_conditions/if reported | Spot size of 50 μm; fluency set to 5 J/cm2; repetition rate at 10 Hz; helium carrier gas at a flow rate of 0.75 L/min; 30 s pre-ablation background, 60 s laser ablation data collection, 30 s wash out delay; masses analyzed: 34S, 51V, 55Mn, 57Fe, 59Co, 60Ni, 63Cu, 65Cu, 67Zn, 71Ga, 72Ge, 73Ge, 74Ge, 75As, 82Se, 95Mo, 107Ag, 111Cd, 115In, 118Sn, 121Sb, 125Te, 197Au, 201Hg, 205Tl, 208Pb and 209Bi; SEM: acceleration voltage of 15 kV, beam current of 10 nA, EDS spectra acquired at 10 mm working distance and 60 s acquisition time, samples coated with 20 nm of carbon | Masses analyzed were: 34S, 51V, 55Mn, 57Fe, 59Co, 60Ni, 63Cu, 65Cu (value in table, 63Cu reported in comments field), 67Zn, 71Ga, 72Ge, 73Ge, 74Ge (only 74Ge reported in data table), 75As, 82Se, 95Mo, 107Ag, 111Cd, 115In, 118Sn, 121Sb, 125Te, 197Au, 201Hg, 205Tl, 208Pb and 209Bi. A spot size of 50 Î¼m was used. Positioning of laser ablation spots were chosen to avoid inclusions, cracks, or other visible impurities. Laser settings where: fluency was set to 5 J/cm2 and the repetition rate at 10 Hz. Helium was used as the carrier gas at a flow rate of 0.75 L/min. Thirty seconds of pre-ablation background values were collected, followed by 60 s of laser ablation data collection of the minerals. A 30 s wash out delay preceded each analysis to clear out the laser chamber. Data reduction was done using the Iolite 4 software (Paton et al., 2011). | 48.5 | Mismatch (sim=0.49)
standards_used/if reported | MUL-Zn S1 (Onuk et al., 2017) as external standard with S as internal standard; USGS powder pressed polysulfide reference material MASS1 (Wilson et al., 2002) as secondary standard | The matrix-matched sphalerite reference material MUL-ZnS1 (Onuk et al., 2017) was used as external standard with S as the inter-nal standard. To ensure the trace element analysesâ€™ quality, the USGS powder pressed polysulfide reference material MASS1 (Wilson et al., 2002) was used as a secondary standard. The MASS1 was used as the external standard for the quantification of Te, Au, Tl and Hg, as the reference material MUL-ZnS-1 is not suitable for these elements. Both reference materials were re-analyzed after 14 unknowns analyzes, for correction of instrumental drift. | 30.3 | Mismatch (sim=0.30)
country | DZA | DZA | 100 | Exact match
publication_date | 2023 | 2023 | 100 | Exact match

## Elements
element_field | n_evaluated | mean_score_%
ag_ppm | 3 | 100
as_ppm | 3 | 100
bi_ppm | 1 | 93.53
cd_ppm | 3 | 100
cu_ppm | 3 | 100
fe_ppm | 3 | 100
ga_ppm | 3 | 100
ge_ppm | 3 | 100
hg_ppm | 3 | 100
mn_ppm | 3 | 100
mo_ppm | 2 | 100
pb_ppm | 3 | 100
sb_ppm | 3 | 100
sn_ppm | 1 | 100
v_ppm | 3 | 100

## Samples
sample_name | numerical_score_% | null_score_%
DG002 | 100 | 86.67
DG006 | 99.5 | 86.67
DG009 | 100 | 88.14