## Summary
T1_metadata_% | T2_numerical_% | T3_structural_% | T4_null_% | overall_%
51.49 | 90.86 | 90.04 | 99.02 | 80.15

## Metadata
field | predicted | ground_truth | score_% | note
deposit_name | Keketale Pb-Zn(-Ag) deposit | Keketale | 20 | Mismatch (sim=0.20)
deposit_environment | Seafloor hydrothermal | Volcanic basin hydrothermal | 25 | Mismatch (sim=0.25)
deposit_group | Volcanic-hosted massive sulfide (VMS) | Volcanogenic massive sulfide (VMS) | 50 | Mismatch (sim=0.50)
deposit_type | VMS zinc-lead-silver | Bimodal felsic VMS | 16.7 | Mismatch (sim=0.17)
mineral | sphalerite | sphalerite | 100 | Exact match
analytical_method | EMPA, LA-ICPMS | LA-ICPMS | 66.7 | Mismatch (sim=0.67)
instrument_type_model | JEOL JXA-i SP100 electron probe analyzer equipped with a 4-channel Spectrometer; New Wave Research 193 nm Ar F Excimer laser ablation system coupled with Thermo Scientific i Cap RQ quadrupole Inductively coupled plasma mass Spectrometer (ICP-MS) | New Wave Research 193 nm ArF Excimer laser ablation system coupled with Thermo Scientific iCap RQ quadrupole Inductively coupled plasma mass Spectrometer | 51.4 | Mismatch (sim=0.51)
laboratory_location/if reported | Southern Ocean Science and Engineering Guangdong Laboratory (Zhuhai); Guangzhou Tuoyan Testing Technology Co, Ltd., Guangzhou | Guangzhou Tuoyan Testing Technology Co, Ltd | 42.9 | Mismatch (sim=0.43)
operating_conditions/if reported | EMPA: acceleration voltage 20 kV, probe current 20 nA, beam spot 5 μm; characteristic peak measurement time for S, Zn, Cu and Fe is 10 s, for As, Mn, Sb, Sn, In, Cd, Ag and Pb is 20 s; backgrounds set with half of the peak measurement time. LA-ICP-MS: laser spot diameter 30 µm, frequency 6 Hz, energy density 3.5 J/cm2; helium gas as carrier gas, argon gas as compensation gas; ~40 s blank signal and ~45 s sample signal per analysis | spot diameter is 30 µm, and the frequency is 6 Hz, with the energy density of 3.5 J/cm2; 27Al, 29Si, 34S, 51V, 53Cr, 55Mn, 57Fe, 59Co, 60Ni, 65Cu, 66Zn, 69Ga, 71Ga, 72Ge, 73Ge, 75As, 77Se, 95Mo, 109Ag, 111Cd, 113In, 115In, 118Sn, 121Sb, 125Te, 182W, 185Re, 197Au, 205Tl, 206Pb, 207Pb, 208Pb and 209Bi | 18.4 | Mismatch (sim=0.18)
standards_used/if reported | EMPA: sphalerite (S and Zn), metallic copper (Cu), marcasite (Fe), gallium arsenide (As), metallic manganese (Mn), antimony telluride (Sb), metallic tin (Sn), indium phosphide (In), metallic cadmium (Cd), metallic silver (Ag), metallic lead (Pb); ZAF calibration program. LA-ICP-MS: NIST SRM610, MASS-1 (external standards), Zn (internal standard); SRM612 and BCR-2 Ga (monitoring standards) | glass reference materials NIST SRM610 and MASS-1 were used for multiple external and single internal standard (Zn) calibration (Liu et al., 2008, Jochum et al., 2011), and proportional reference materials SRM612 and BCR-2 Ga were used as monitoring standards | 27 | Mismatch (sim=0.27)
country | CHN | CHN | 100 | Exact match
publication_date | 2024 | 2024 | 100 | Exact match

## Elements
element_field | n_evaluated | mean_score_%
ag_ppm | 113 | 72.57
as_ppm | 8 | 37.5
au_ppm | 63 | 92.44
bi_ppm | 47 | 93.06
cd_ppm | 113 | 86.23
co_ppm | 23 | 98.9
cr_ppm | 14 | 98.53
cu_ppm | 113 | 72.98
fe_ppm | 113 | 94.44
ga_ppm | 77 | 100
gd_ppm | 94 | 100
ge_ppm | 30 | 100
hf_ppm | 110 | 99.96
hg_ppm | 113 | 100
in_ppm | 113 | 72.57
lu_ppm | 110 | 100
mn_ppm | 113 | 90.26
mo_ppm | 48 | 98.25
ni_ppm | 8 | 100
pb_ppm | 111 | 74.92
re_ppm | 106 | 100
s_ppm | 113 | 90.29
sb_ppm | 94 | 70.36
se_ppm | 13 | 100
sn_ppm | 14 | 78.4
ta_ppm | 103 | 98.59
te_ppm | 79 | 100
tl_ppm | 104 | 96.21
u_ppm | 51 | 86.52
v_ppm | 16 | 99.86
w_ppm | 40 | 86.95
zn_ppm | 113 | 99.9

## Samples
sample_name | numerical_score_% | null_score_%
10KK-01@1-1 | 99.57 | 100
10KK-01@1-2 | 100 | 100
10KK-01@2-1 | 100 | 100
10KK-01@2-11 | 99.06 | 100
10KK-01@2-12 | 93.66 | 100
10KK-01@2-2 | 100 | 100
10KK-01@2-3 | 100 | 100
10KK-01@2-5 | 99.53 | 100
10KK-01@2-6 | 100 | 100
10KK-01@2-7 | 100 | 100
10KK-01@2-8 | 95.83 | 100
10KK-01@3-1 | 100 | 100
10KK-01@3-2 | 100 | 100
10KK-01@4-1 | 98.66 | 100
10KK-01@4-10 | 99.98 | 100
10KK-01@4-11 | 99.72 | 100
10KK-01@4-12 | 97.93 | 100
10KK-01@4-2 | 100 | 100
10KK-01@4-3 | 100 | 100
10KK-01@4-4 | 98.31 | 100
10KK-01@4-5 | 98.44 | 100
10KK-01@4-6 | 93.34 | 100
10KK-01@4-7 | 99.86 | 100
10KK-01@4-8 | 100 | 100
10KK-01@4-9 | 97.34 | 100
10KK-01@5-2 | 100 | 100
10KK-01@5-3 | 100 | 100
10KK-01@6-2 | 100 | 100
10KK-01@6-3 | 99.42 | 100
10KK-01@6-4 | 100 | 100
10KK-01@6-8 | 100 | 100
10KK-12@1-1 | 68.48 | 96
10KK-12@1-2 | 71.68 | 95.92
10KK-12@1-3 | 95.24 | 100
10KK-12@1-4 | 98.18 | 100
10KK-12@2-1 | 100 | 100
10KK-12@2-2 | 69.05 | 94.44
10KK-13@1-1 | 100 | 100
10KK-13@1-2 | 69.31 | 97.87
10KK-13@1-3 | 75.41 | 97.87
10KK-13@1-4 | 94.98 | 100
10KK-13@2-1 | 67.02 | 96.15
10KK-13@2-2 | 100 | 100
10KK-13@2-3 | 100 | 100
10KK-13@2-4 | 73.32 | 96.08
10KK-13@2-5 | 95.24 | 100
10KK-13@2-8 | 75.74 | 95.92
10KK-13@2-9 | 99.76 | 100
10KK-13@3-1 | 99.67 | 100
10KK-13@3-2 | 70.83 | 96.15
10KK-13@3-3 | 100 | 100
10KK-13@3-4 | 71.13 | 96.3
10KK-13@3-6 | 71.77 | 96.15
10KK-13@3-8 | 98.64 | 100
10KK-13@4-1 | 63.08 | 96.3
10KK-13@4-2 | 100 | 100
10KK-13@4-3 | 73.33 | 96.08
10KK-13@4-4 | 98.01 | 100
10KK-13@4-5 | 90.91 | 100
10KK-13@4-6 | 95.24 | 100
10KK-13@4-9 | 73.81 | 97.92
10KK-13@5-1 | 97.59 | 100
10KK-13@5-2 | 99.62 | 100
10KK-13@5-3 | 99.01 | 100
10KK-13@5-4 | 99.66 | 100
10KK-13@5-5 | 100 | 100
10KK-13@5-6 | 71.56 | 96.15
10KK-13@5-7 | 72.42 | 96.08
10KK-13@5-8 | 100 | 100
10KK-9@3-1 | 99.54 | 100
10KK-9@3-11 | 100 | 100
10KK-9@3-12 | 100 | 100
10KK-9@3-13 | 98.97 | 100
10KK-9@3-14 | 65.13 | 96
10KK-9@3-15 | 70.09 | 96.15
10KK-9@3-16 | 100 | 100
10KK-9@3-2 | 100 | 100
10KK-9@3-3 | 100 | 100
10KK-9@3-4 | 66 | 96.15
10KK-9@3-6 | 100 | 100
10KK-9@3-7 | 65.12 | 98.04
10KK-9@3-8 | 100 | 100
10KK-9@4-2 | 68.83 | 96.08
10KK-9@4-3 | 68.67 | 96.08
10KK-9@4-6 | 66.98 | 96.23
10KK-9@6-1 | 100 | 100
10KK-9@6-2 | 65.54 | 97.96
10KK-9@6-3 | 67.4 | 96.15
10KK-9@6-4 | 73.11 | 97.96
10KK-9@6-5 | 69.5 | 96
10KK-H@1-1 | 91.22 | 100
10KK-H@1-2 | 58.07 | 98.08
10KK-H@2-3 | 69.62 | 95.92
10KK-H@2-4 | 98.17 | 100
10KK-H@2-5 | 98.93 | 100
10KK-L@6-1 | 100 | 100
10KK-L@6-11 | 98.34 | 100
10KK-L@6-12 | 100 | 100
10KK-L@6-13 | 71.08 | 96.15
10KK-L@6-14 | 100 | 100
10KK-L@6-17 | 74.14 | 94.44
KK-09@2-1 | 100 | 100
KK-09@2-2 | 99.88 | 100
KK-Y@1-4 | 100 | 100
KK-Y@1-5 | 100 | 100
KK-Y@1-6 | 100 | 100
KK-Y@1-7 | 94.34 | 100
KK-Y@2-1 | 100 | 100
KK-Y@2-4 | 99.85 | 100
KK-Y@3-2 | 100 | 100
KK-Y@3-6 | 98.06 | 100
KK-Y@4-3 | 100 | 100
KK-Y@4-4 | 99.93 | 100