## Summary
T1_metadata_% | T2_numerical_% | T3_structural_% | T4_null_% | overall_%
65.27 | 100 | 3.58 | 100 | 75.12

## Metadata
field | predicted | ground_truth | score_% | note
deposit_name | Chipu | Chipu | 100 | Exact match
deposit_environment | Basin hydrothermal | Basin hydrothermal | 100 | Exact match
deposit_group | Mississippi Valley- type (MVT) | Sediment-hosted | 14.3 | Mismatch (sim=0.14)
deposit_type | MVT zinc-lead | Unknown | 10 | Mismatch (sim=0.10)
all_commodities | Pb, Zn, Ga, Ge, In, Cu, Ag, As, Cd, Sb, Sn | Zn, Pb, Ga, Ge, In | 47.8 | Mismatch (sim=0.48)
mineral | sphalerite | sphalerite | 100 | Exact match
analytical_method | LA-ICPMS, MC-ICPMS | LA-ICPMS | 66.7 | Mismatch (sim=0.67)
instrument_type_model | NWR 193 nm ArF Excimer laser-ablation system coupled to an iCAP RQ ICPMS; RESOlution M50-LR 193 nm excimer laser-ablation system coupled to Nu Plasma 1700 MC-ICP-MS | NWR 193 nm ArF Excimer laser-ablation system coupled to an iCAP RQ (ICPMS) | 61.3 | Mismatch (sim=0.61)
laboratory_location/if reported | Guangzhou Tuoyan Analytical Technology Co., Ltd., Guangzhou, China | Guangzhou Tuoyan Analytical Technology Co., Ltd., Guangzhou, China | 100 | Exact match
operating_conditions/if reported | LA-ICPMS: 3.5 J/cm² fluence, 25 Hz repetition rate, 5 µm spot size, 15 µm/s scanning speed, 160 ms total dwell time. LA-MC-ICP-MS: 3.6 J/cm² fluence, 3 Hz frequency, 25-37 µm spot size, single-point stripping mode, RF power 1300 W, Neb atomization gas 0.8 mL/min, plasma gas 13 L/min | 3.5 J/cm², with a repetition rate of 6 Hz and a spot diameter of 30 μm. Each analysis included a 40-second period for laser ablation followed by a 40-second background measurement | 30.9 | Mismatch (sim=0.31)
standards_used/if reported | NIST 610 as external benchmark for trace elements; IAEA-S-1, IAEA-S-2, IAEA-S-3 (Ag2S powder) as benchmark samples for sulfur isotope analysis | NIST 610; GSE-2G; MASS-1 | 17.6 | Mismatch (sim=0.18)
country | CHN | CHN | 100 | Exact match
publication_date | 2025 | 2025 | 100 | Exact match

## Elements
element_field | n_evaluated | mean_score_%
ag_ppm | 31 | 100
as_ppm | 31 | 100
cd_ppm | 31 | 100
co_ppm | 29 | 100
cu_ppm | 31 | 100
fe_ppm | 31 | 100
ga_ppm | 31 | 100
ge_ppm | 31 | 100
in_ppm | 31 | 100
mn_ppm | 31 | 100
pb_ppm | 31 | 100
s_ppm | 31 | 100
sb_ppm | 31 | 100
sn_ppm | 31 | 100
tl_ppm | 15 | 100

## Samples
sample_name | numerical_score_% | null_score_%
101A-2@L3 | 100 | 100
101A-2@L5 | 100 | 100
101A-2@L6 | 100 | 100
101A-3@L10 | 100 | 100
101A-3@L11 | 100 | 100
101A-3@L13 | 100 | 100
101A-3@L14 | 100 | 100
101A-3@L15 | 100 | 100
101A-3@L7 | 100 | 100
101A-4@L17 | 100 | 100
101A-4@L19 | 100 | 100
101B-2@L26 | 100 | 100
101B-2@L27 | 100 | 100
101B-2@L28 | 100 | 100
101B-2@L29 | 100 | 100
101B-2@L30 | 100 | 100
201B-1@L34 | 100 | 100
201B-1@L35 | 100 | 100
201B-1@L36 | 100 | 100
201B-1@L37 | 100 | 100
201B-1@L38 | 100 | 100
303@L47 | 100 | 100
303@L48 | 100 | 100
303@L49 | 100 | 100
303@L50 | 100 | 100
303@L51 | 100 | 100
303@L52 | 100 | 100
303@L54 | 100 | 100
303@L55 | 100 | 100
303@L56 | 100 | 100
303@L57 | 100 | 100