## Summary
T1_metadata_% | T2_numerical_% | T3_structural_% | T4_null_% | overall_%
63.65 | 100 | 100 | 97.02 | 88.65

## Metadata
field | predicted | ground_truth | score_% | note
deposit_name | Fule | Fule | 100 | Exact match
deposit_environment | Basin hydrothermal | unknown | 16 | Mismatch (sim=0.16)
deposit_group | Mississippi Valley- type (MVT) | unknown | 0 | Mismatch (sim=0.00)
deposit_type | MVT zinc-lead | unknown | 10 | Mismatch (sim=0.10)
all_commodities | Zn, Pb, Ga, Ge, Ag, Cu | Zn, Pb, Ga, Ge, In | 77.4 | Mismatch (sim=0.77)
mineral | sphalerite | sphalerite | 100 | Exact match
analytical_method | LA-ICPMS | LA-ICPMS | 100 | Exact match
instrument_type_model | 193 nm Ar F excimer laser-ablation system coupled to a Thermo Scientific i Cap-RQ ICP-MS instrument | Thermo Scientific iCap-RQ; 193 nm ArF excimer laser-ablation system | 48.5 | Mismatch (sim=0.48)
laboratory_location/if reported | Guangzhou Tuoyan Analytical Technology Co., Ltd., Guangzhou, China | Guangzhou Tuoyan Analytical Technology Co., Ltd., Guangzhou, China | 100 | Exact match
operating_conditions/if reported | Laser energy density 4 J/cm², repetition rate 6 Hz, spot diameter 35 µm, 40 s background, 45 s ablation. Mapping: laser energy 5 J/cm², repetition rate 15 Hz, spot diameter 10 µm, scan speed 40 µm/s | 35 um spot size; 6 Hz repetition rate; 4.0 J/cm2 energy density on sample; 85 second analysis time | 38 | Mismatch (sim=0.38)
standards_used/if reported | NIST 610, MASS-1, BCR-2G (calibration standards without internal standard); NIST 612 (monitoring standard); NIST 610 (external standard for mapping) | NIST 610, MASS-1, BCR-2G | 37.5 | Mismatch (sim=0.38)
country | CHN | CHN | 100 | Exact match
publication_date | 2025 | 2025 | 100 | Exact match

## Elements
element_field | n_evaluated | mean_score_%
ag_ppm | 80 | 100
as_ppm | 71 | 100
cd_ppm | 80 | 100
cu_ppm | 80 | 100
fe_ppm | 80 | 100
ga_ppm | 66 | 100
ge_ppm | 76 | 100
hg_ppm | 80 | 100
in_ppm | 27 | 100
mn_ppm | 80 | 100
pb_ppm | 80 | 100
sb_ppm | 76 | 100
sn_ppm | 57 | 100
tl_ppm | 39 | 100

## Samples
sample_name | numerical_score_% | null_score_%
pos_0 | 100 | 100
pos_1 | 100 | 96.72
pos_2 | 100 | 100
pos_3 | 100 | 100
pos_4 | 100 | 100
pos_5 | 100 | 96.72
pos_6 | 100 | 95.16
pos_7 | 100 | 95.16
pos_8 | 100 | 95.16
pos_9 | 100 | 96.72
pos_10 | 100 | 96.72
pos_11 | 100 | 96.72
pos_12 | 100 | 96.72
pos_13 | 100 | 96.72
pos_14 | 100 | 93.65
pos_15 | 100 | 98.33
pos_16 | 100 | 100
pos_17 | 100 | 100
pos_18 | 100 | 96.72
pos_19 | 100 | 100
pos_20 | 100 | 100
pos_21 | 100 | 98.33
pos_22 | 100 | 95.16
pos_23 | 100 | 100
pos_24 | 100 | 96.72
pos_25 | 100 | 100
pos_26 | 100 | 95.16
pos_27 | 100 | 100
pos_28 | 100 | 98.33
pos_29 | 100 | 100
pos_30 | 100 | 100
pos_31 | 100 | 95.16
pos_32 | 100 | 98.33
pos_33 | 100 | 100
pos_34 | 100 | 96.72
pos_35 | 100 | 98.33
pos_36 | 100 | 95.16
pos_37 | 100 | 96.72
pos_38 | 100 | 95.16
pos_39 | 100 | 96.72
pos_40 | 100 | 96.72
pos_41 | 100 | 100
pos_42 | 100 | 96.72
pos_43 | 100 | 95.16
pos_44 | 100 | 95.16
pos_45 | 100 | 90.77
pos_46 | 100 | 98.33
pos_47 | 100 | 98.33
pos_48 | 100 | 100
pos_49 | 100 | 98.33
pos_50 | 100 | 100
pos_51 | 100 | 100
pos_52 | 100 | 98.33
pos_53 | 100 | 98.33
pos_54 | 100 | 98.33
pos_55 | 100 | 100
pos_56 | 100 | 90.77
pos_57 | 100 | 89.39
pos_58 | 100 | 92.19
pos_59 | 100 | 93.65
pos_60 | 100 | 93.65
pos_61 | 100 | 92.19
pos_62 | 100 | 96.72
pos_63 | 100 | 96.72
pos_64 | 100 | 93.65
pos_65 | 100 | 96.72
pos_66 | 100 | 95.16
pos_67 | 100 | 95.16
pos_68 | 100 | 98.33
pos_69 | 100 | 96.72
pos_70 | 100 | 98.33
pos_71 | 100 | 95.16
pos_72 | 100 | 96.72
pos_73 | 100 | 96.72
pos_74 | 100 | 96.72
pos_75 | 100 | 96.72
pos_76 | 100 | 95.16
pos_77 | 100 | 98.33
pos_78 | 100 | 98.33
pos_79 | 100 | 96.72