## Summary
T1_metadata_% | T2_numerical_% | T3_structural_% | T4_null_% | overall_%
76.35 | 67.06 | 49.33 | 92.43 | 70.99

## Metadata
field | predicted | ground_truth | score_% | note
deposit_name | Baiyangping | Baiyangping | 100 | Exact match
deposit_environment | Basin hydrothermal | Basin hydrothermal | 100 | Exact match
deposit_group | Sediment-hosted | Sediment-hosted | 100 | Exact match
deposit_type | Kipushi-type sediment-hosted copper-zinc-lead | Unknown | 15.4 | Mismatch (sim=0.15)
all_commodities | Cu, Pb, Zn | Zn, Pb, Cu, Ag, Co | 60 | Mismatch (sim=0.60)
mineral | sphalerite | sphalerite | 100 | Exact match
analytical_method | LA-ICPMS | LA-ICPMS | 100 | Exact match
instrument_type_model | Coherent Geo Las Pro 193 nm Laser Ablation system coupled with an Agilent 7700x ICP-MS | Coherent GeoLasPro 193 nm Laser Ablation system coupled with an Agilent 7700x ICP–MS | 98.8 | Fuzzy match (0.99)
laboratory_location/if reported | State Key Laboratory of Ore Deposit Geochemistry, Institute of Geochemistry, Chinese Academy of Sciences | State Key Laboratory of Ore Deposit Geochemistry | 64 | Mismatch (sim=0.64)
operating_conditions/if reported | 26 μm spots at 6 Hz with energy of ~ 55 mJ/pulse for 45 s after measuring the gas blank for 20 s | 55 mJ/pulse, with a repetition rate of 6 Hz and a spot diameter of 26 μm. Each analysis included a 45-second period for laser ablation followed by a 20-second background measurement | 31.6 | Mismatch (sim=0.32)
standards_used/if reported | STDGL3 and MASS-1 as external standards, GSD-1G as quantity control of the time-dependent sensitivity drift | Standard reference materials from the USGS, STDGL3 and MASS-1 | 22.7 | Mismatch (sim=0.23)
country | CHN | CHN | 100 | Exact match
publication_date | 2024 | 2024 | 100 | Exact match

## Elements
element_field | n_evaluated | mean_score_%
ag_ppm | 37 | 62.91
as_ppm | 37 | 65.24
bi_ppm | 8 | 100
cd_ppm | 37 | 66.62
co_ppm | 26 | 85.54
cu_ppm | 37 | 66.23
fe_ppm | 37 | 67.11
ga_ppm | 34 | 68.68
ge_ppm | 31 | 71.4
mn_ppm | 28 | 62.14
pb_ppm | 37 | 65.84
sb_ppm | 33 | 66.67
tl_ppm | 30 | 61.73
zn_ppm | 37 | 78.38

## Samples
sample_name | numerical_score_% | null_score_%
B16-1 | 100 | 78.69
B16-2 | 100 | 80.33
B16-3 | 100 | 81.36
F4-1 | 100 | 96.67
F4-10 | 100 | 98.31
F4-11 | 100 | 96.67
F4-12 | 100 | 96.67
F4-13 | 100 | 96.67
F4-14 | 100 | 96.67
F4-15 | 100 | 96.67
F4-16 | 100 | 95.08
F4-17 | 100 | 96.67
F4-18 | 100 | 95.08
F4-19 | 100 | 96.67
F4-2 | 100 | 93.55
F4-3 | 100 | 95.08
F4-4 | 100 | 95.08
F4-5 | 100 | 93.65
F4-6 | 100 | 95.08
F4-7 | 100 | 96.67
F4-8 | 100 | 96.67
F4-9 | 100 | 98.31
L12-21 | 0 | 100
L2-1 | 7.34 | 80
L2-10 | 39.9 | 93.55
L2-11 | 33.11 | 96.67
L2-12 | 43.14 | 92.06
L2-13 | 39.55 | 89.23
L2-14 | 44.66 | 95.08
L2-2 | 11.12 | 80
L2-3 | 9.79 | 77.42
L2-4 | 0.63 | 78.69
L2-5 | 0.01 | 90.62
L2-6 | 0.75 | 95.08
L2-7 | 5.97 | 93.55
L2-8 | 29.43 | 95.08
L2-9 | 15.75 | 96.67